# Assessment Requirements for HLTSTE001 Clean and disinfect reusable medical devices

Release: 1

Assessment Requirements for HLTSTE001 Clean and disinfect reusable medical devices

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. Removed prerequisite. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

followed established procedures, work processes and national standards for the sorting, disassembly, cleaning and thermal disinfection of reusable medical devices on at least 3 occasions:

identified and responded to routine process and maintenance problems and variations

addressed relevant work health and safety, infection control and manual task requirements

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

existence and basic requirements of AS/NZS 4187, and its role in the sterilisation workplace

reusable medical devices (RMD) product families and associated cleaning requirements, including detergents and brushes

types and features of cleaning and drying equipment, and their monitoring and maintenance requirements

steps in the cleaning and disinfection work flow process and the reasons for design of work area

water quality testing processes

testing processes for cleaning equipment

key aspects of thermal disinfection, including:

terminology

conditions and parameters for thermal disinfection

lethality of a moist heat process for a range of temperatures

quality indicators for cleaning and disinfection processes

safe work practices in the cleaning area:

manual task risk factors and how to control for them

infection control and Spaulding’s classification

personal protective equipment (PPE)

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

reusable medical devices requiring cleaning

operational cleaning and drying equipment

cleaning procedures to be followed by the candidate

equipment operation manuals

personal protective equipment

quality assurance documentation

modelling of industry operating conditions, including:

speed and timing requirements for the cleaning process

presence of situations requiring problem solving

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705