# Assessment Requirements for HLTSTE003 Sterilise loads

Release: 2

Assessment Requirements for HLTSTE003 Sterilise loads

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | Minor change. Correction of typographical error. Equivalent outcome. |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. Removed prerequisite. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

followed established procedures, work processes and national standards to prepare, operate, load and unload sterilisers and release the sterilised loads on at least three occasions, including:

correctly interpreting test results

accurately completing all documentation for cycles, tests and load content, including specialised items

addressing relevant work health and safety, infection control and manual handling requirements

identifying and responding to routine problems within delegated authority

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

terminology used in sterilising and methods of sterilisation used in Australia

environmental conditions required for efficient functioning of a sterilisation area, including:

quarantine protocols

conditions and parameters for successful sterilisation

cleaning protocols and special requirements for sterilisers, trolleys and carriages

features of sterilisation process that influence sterilisation outcomes, including:

cycle stages and physical parameters that determine sterilisation outcomes

differences between methods of low temperature sterilisation processes including hydrogen peroxide and peracetic acid

the biocidal action of chemical sterilants and impact on sterilisation outcomes

monitoring equipment and procedures

features of steam sterilisation that influence sterilisation outcomes, including:

cycle stages and physical parameters that influence sterilisation outcomes

principles of steam generation and steam quality that impact on sterilisation outcomes

significant mechanical components of steam sterilisers

the biocidal action of steam under pressure and the impact on sterilisation outcomes

monitoring equipment and procedures

performance testing:

air removal test

process challenge device

leak rate test

physical, chemical and biological monitoring devices

requirements of quality assurance documentation, including release processes

safe work practices in the sterilisation work area:

manual task risk factors and how to control for them

infection control

personal hygiene

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

steam sterilisers

reusable medical devices

personal protective equipment

quality assurance print outs and documentation

workplace procedures to be followed

modelling of industry operating conditions, including:

speed and timing requirements for the sterilisation process

presence of situations requiring problem solving

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705