# Assessment Requirements for HLTSTE007 Monitor and maintain cleaning and sterilisation equipment

Release: 1

Assessment Requirements for HLTSTE007 Monitor and maintain cleaning and sterilisation equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTSTE407C//HLTSTE408C. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

assisted with the development, implementation and evaluation of monitoring and maintenance plans for at least 2 types of cleaning equipment including at least 1 type of steriliser

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

features, functions and tracking and monitoring systems of different reprocessing equipment:

ultrasonic washers

washer-disinfectors

automated lubrication devices

leak testers

dryers

insulation testers

steam sterilisers

heat sealers

low temperature sterilisers

administration and record keeping requirements:

testing and monitoring

validation requirements

maintenance and repair

recall systems

reporting as per AS/NZS 4187

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

cleaning and sterilisation equipment

test data for analysis

documentation for completion

equipment manuals and maintenance and repair records

modelling of industry operating conditions, including presence of situations requiring problem solving

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705