# Assessment Requirements for HLTSTE008 Monitor quality of cleaning, sterilisation and packaging processes

Release: 1

Assessment Requirements for HLTSTE008 Monitor quality of cleaning, sterilisation and packaging processes

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTSTE409C//HLTSTE410B. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. Removed prerequisites. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

contributed to the development and use of monitoring programs according to national standards for at least 2 types of cleaning processes

contributed to the development and use of monitoring programs according to national standards for both a packaging process and a sterilisation process, including:

documented risk analysis

process verification systems

record keeping systems

work instructions for monitoring processes

evaluated incidences of non-compliance and contributed to appropriate responses

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

testing systems requirements for cleaning, packaging, sterilisation and storage according to relevant standards

administration and record keeping requirements for testing, monitoring and maintenance

types of process problems that occur, reasons for these occurring and ways to resolve them

risk control solutions and how these are implemented

scope of job role and delegation and escalation within scope of job role

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

test manufacturer’s recommendations

work instructions

maintenance records

AS/NZS 4187 standards

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705