# HLTSTE008 Monitor quality of cleaning, sterilisation and packaging processes

Release: 1

HLTSTE008 Monitor quality of cleaning, sterilisation and packaging processes

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTSTE409C//HLTSTE410B. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. Removed prerequisites. |

# Application

This unit of competency describes the skills and knowledge required to determine quality compliance requirements, and to assist with development and documentation of monitoring programs to ensure those requirements are met.

This unit applies to those working in a senior or team leader role in sterilisation services and/or reprocessing areas.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes | Performance criteria describe the performance required to demonstrate achievement of the element |
| 1. Determine quality requirements | 1.1 Contribute to risk analysis to determine scope and nature of quality requirements according to relevant standards 1.2 Contribute to the development and documentation of monitoring programs for sterilisation processes 1.3 Provide information about monitoring requirements to relevant colleagues |
| 2. Verify effectiveness of processes | 2.1 Evaluate processes against quality requirements 2.2 Obtain technical and numerical data through use of testing and monitoring systems 2.3 Correctly interpret data from testing and monitoring systems 2.4 Determine need for independent verification and take action accordingly |
| 3. Monitor administration | 3.1 Monitor accuracy and completeness of records 3.2 Evaluate and act upon non-compliant records and reports 3.3 Maintain and update information on reporting requirements for use by sterilisation staff |
| 4. Monitor and report on compliance | 4.1 Evaluate performance against quality parameters and determine need for changes to work processes 4.2 Adjust work processes based on outcomes of evaluation 4.3 Seek feedback from staff and end users 4.4 Pro-actively share information with relevant management personnel |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705