# HLTTHE001 Handle and care for operating theatre equipment

Release: 1

HLTTHE001 Handle and care for operating theatre equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTTH302D/HLTTH404D. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. |

# Application

This unit describes the skills and knowledge required to prepare theatre equipment, provide basic maintenance support, and contribute to effective use of equipment by providing basic instruction to others on equipment operation.

This unit applies to operating theatre technicians and other theatre staff who work under supervision in the operating theatre.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element |
| 1. Select and prepare operating theatre equipment | 1.1 Identify equipment and consumables requirements, based on consultation with operating theatre team, review of operating list and surgeon preferences 1.2 Set up, correctly position, and check equipment and consumables in accordance with standard and additional infection control procedures 1.3 Assemble, connect and test components in accordance with specific equipment requirements 1.4 Re-position equipment during theatre procedures, as required by specific procedure 1.5 Accurately document the use of theatre equipment as required 1.6 Withdraw from use and replace equipment if considered not safe for use |
| 2. Support equipment maintenance | 2.1 Identify and correct minor equipment problems within scope of own job role 2.2 Refer equipment maintenance to a specialist as required by scope and nature of problem and organisation policy and procedures 2.3 Maintain accurate maintenance log book as required 2.4 Schedule equipment for maintenance based on the needs of the operating theatre 2.5 Maintain communication with relevant operating theatre staff in relation to equipment maintenance |
| 3. Disassemble and store operating theatre equipment | 3.1 Follow shut-down procedures in accordance with manufacturer’s recommendations 3.2 Assemble and disassemble equipment in accordance with manufacturer’s recommendations and manual task risk principles 3.3 Dispose of waste in accordance with infection control protocols and organisation policies and procedures 3.4 Clean equipment using cleaning agent suited to the equipment and in accordance with organisation policy and procedures 3.5 Safely store equipment in accordance with manufacturer’s recommendations and manual task risk principles |
| 4. Contribute to operating theatre operations | 4.1 Provide clear and correct instructions on equipment operation to individual members of the theatre team as required 4.2 Review equipment effectiveness from a theatre technician’s perspective and provide feedback to relevant personnel 4.3 Participate as required in team evaluations of equipment being considered for potential purchase and share information from the theatre technician’s perspective |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705