# HLTAN408C Provide basic care and maintenance of anaesthetic and monitoring equipment

Release: 1

HLTAN408C Provide basic care and maintenance of anaesthetic and monitoring equipment

# Modification History

| HLT07 Version 4 | HLT07 Version 5 | Comments |
| --- | --- | --- |
| HLTAN408B Provide basic care and maintenance of anaesthetic and monitoring equipment | HLTAN408C - Provide basic care and maintenance of anaesthetic and monitoring equipment | Unit updated in V5. ISC upgrade changes to remove references to old OHS legislation and replace with references to new WHS legislation. No change to competency outcome. |

# Unit Descriptor

| Descriptor | This unit of competency describes the skills and knowledge required to provide care and maintenance for anaesthetic and monitoring equipment |
| --- | --- |

# Application of the Unit

| Application | Work performed requires a broad knowledge, range of well developed skills and the ability to develop and apply solutions to a range of predictable and unpredictable problems. Individuals use discretion and judgement and take responsibility for their own outputs Administration of anaesthesia may occur in various locations within the hospital environment e.g. operating theatres, emergency department, intensive care unit (ICU), radiology department All activities are carried out in accordance with relevant Australian and New Zealand College of Anaesthetists policy documents, organisation policies, procedures and infection control guidelines |
| --- | --- |

# Licensing/Regulatory Information

Not Applicable

# Pre-Requisites

Not Applicable

# Employability Skills Information

| Employability Skills | This unit contains Employability Skills |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements define the essential outcomes of a unit of competency. | The Performance Criteria specify the level of performance required to demonstrate achievement of the Element. Terms in italics are elaborated in the Range Statement. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Conduct daily care and maintenance | 1.1 Perform safety checks in accordance with organisation policies and procedures, manufacturer's guidelines and current standards 1.2 Ensure anaesthetic equipment is functioning correctly 1.3 Identify and correct anaesthetic equipment problems 1.4 Report hazardous, damaged or faulty equipment is reported and arrange repairs 1.5 Clean anaesthetic equipment in accordance with organisation policies and procedures and manufacturer's recommendations 1.6 Disassemble and clean anaesthetic equipment is in accordance with organisation policies and procedures and manufacturer's recommendations 1.7 Dispose of disposable/single use items in accordance with waste management policies, manufacturer's recommendations and infection control policies |
| 2. Arrange required repairs of anaesthetic equipment | 2.1 Identify anaesthetic equipment faults and label anaesthetic equipment 2.2 Complete documentation in accordance with organisation policies and procedures 2.3 Complete anaesthetic equipment repair in accordance with organisation policies and procedures and manufacturer's instructions |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This describes the essential skills and knowledge and their level required for this unit.

Essential knowledge: The candidate must be able to demonstrate essential knowledge required to effectively do the task outlined in elements and performance criteria of this unit, manage the task and manage contingencies in the context of the identified work role This includes knowledge of: Anaesthetic and monitoring equipment cleaning procedures Application of anaesthetic and monitoring equipment and the contraindications, complications and limitations associated with their use Basic electronic knowledge and electrical safety requirements Boundaries of responsibilities and ability to refer problems to supervisor, anaesthetist or other appropriate health professional Current range and use of anaesthetic and monitoring equipment Infection control policy and procedures in relation to anaesthetic and monitoring equipment Intra-operative client safety concerning the location and movement of equipment Medical terminology used relevant to the worker's role Occupational health and safety procedures in relation to anaesthetic and monitoring equipment Principles of measurement e.g. thermodynamics, gas laws, fluid dynamics, potentiometry and optics Principles of safe operation of equipment Relevant anatomy and physiology related to the set-up and operation of anaesthetic and monitoring equipment Safe handling of gases

Essential skills: It is critical that the candidate demonstrate the ability to: Apply basic training and instruction skills and assessments Calibrate and maintain equipment to required standard Communicate with health professionals Communicate with maintenance engineers Identify and rectify equipment problems Use appropriate cleaning chemicals In addition, the candidate must be able to effectively do the task outlined in elements and performance criteria of this unit, manage the task and manage contingencies in the context of the identified work role This includes the ability to: Comply with organisation policies and procedures including those of WHS and infection control, and current standards Deal with conflict Follow procedures for timely set-up, trouble-shooting, shut-down, cleaning and storage of anaesthetic and monitoring equipment Identify and manage faults and problems with anaesthetic and monitoring equipment Identify the range and purpose, and principle of operation of a range of anaesthetic and monitoring equipment Recognise hazards related to the use of each item of a range of anaesthetic and monitoring equipment Take into account opportunities to address waste minimisation, environmental responsibility and sustainable practice issues Use numeracy skills that may range from the ability to complete basic arithmetic calculations, recording stock levels and statistical information Use oral communication skills - language competence required to fulfil job roles in a safe manner and as specified by the organisation. Assessors should look for skills in asking questions, providing clear information, listening to and understanding workplace instructions, and clarifying workplace instructions when necessary. Effective verbal and non verbal communication skills with a range of internal and external persons are essential. Organisation may require competence in English or a community language, depending on client group Use problem solving skills required including an ability to use available resources Use reading and writing skills-literacy competence required to fulfil job roles in a safe manner and as specified by the organisation. The level of skill required involves reading and documenting technical information and understanding complex policy and procedure manuals. Work with others within a team

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, the Range Statement and the Assessment Guidelines for this Training Package. |  |
| Critical aspects for assessment and evidence required to demonstrate this competency unit: | The individual being assessed must provide evidence of specified essential knowledge as well as skills Observation of workplace performance is essential for assessment of this unit Consistency of performance should be demonstrated over the required range of situations relevant to the workplace Where, for reasons of safety, space, or access to equipment and resources, assessment takes place away from the workplace, the assessment environment should represent workplace conditions as closely as possible |
| Access and equity considerations: | All workers in the health industry should be aware of access and equity issues in relation to their own area of work All workers should develop their ability to work in a culturally diverse environment In recognition of particular health issues facing Aboriginal and Torres Strait Islander communities, workers should be aware of cultural, historical and current issues impacting on health of Aboriginal and Torres Strait Islander people Assessors and trainers must take into account relevant access and equity issues, in particular relating to factors impacting on health of Aboriginal and/or Torres Strait Islander clients and communities |
| Context of and specific resources for assessment | Resources essential for assessment include: access to appropriate workplace where assessment can take place simulation of realistic workplace setting for assessment relevant organisation policy, guidelines, procedures and protocols |
| Method of assessment | Observation in the workplace Evidence gathered from clinical work environment Written assignments/projects or questioning should be used to assess knowledge Case study and scenario as a basis for discussion of issues and strategies to contribute to best practice. Questioning - verbal and written Role play/simulation Clinical skills involving direct client care are to be assessed initially in a simulated clinical setting (laboratory). If successful, a second assessment is to be conducted during workplace application under direct supervision |
| Related units: | This unit can be assessed independently, however holistic assessment practice with other health services units of competency is encouraged This unit is embedded into elements 1 and 3 of unit HLTAN506D Provide advanced care and maintenance of anaesthetic equipment |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The Range Statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Add any essential operating conditions that may be present with training and assessment depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts. |  |
| Safety checks of equipment may include: | Calibration Pre-use checks Correct operation and function |
| Organisation policies and procedures may refer to: | Infection control Occupational health and safety Equipment handling and set up procedures Maintenance procedures Electrical hazards |
| Anaesthetic and equipment must include: | Anaesthetic machine and components, including alarms and scavenger Work station/trolley Ventilator and components Gas supply equipment Vaporisers or other systems designed for delivery of inhalation anaesthetic agents Breathing systems/circuits and attachments Laryngoscopes Intubation aids, including standard and difficult intubation equipment, fibreoptic bronchoscopes and video equipment Artificial airways Oxygen masks Monitoring equipment includes: Electrocardiography (ECG) Pulse oximetry Non-invasive and invasive blood pressure monitoring Temperature monitoring Central venous pressure (CVP) monitoring Intravascular monitoring Gas analysers, including oxygen, carbondioxide and anaesthetic agent Expired/inspired volume/pressure Neuromuscular transmission Cardiac output monitoring Cerebral activity monitors Stethoscopes, including oesophageal Other equipment includes: Defibrillator/cardioverters Infusion equipment, including oxygen, carbon dioxide and anaesthetic agent Warming/cooling equipment for client and intravenous fluids Equipment to minimise heat loss Tourniquets and exsanguinators Nerve stimulator Neuromuscular function Blood analysis devices e.g. gas, electrolytes, haemoglobin, pH |

# Unit Sector(s)

Not Applicable