# HLTART405B Install and maintain environmental control systems

Release: 1

HLTART405B Install and maintain environmental control systems

# Modification History

Not Applicable

# Unit Descriptor

| Descriptor | This unit of competency describes the skills and knowledge required to install and maintain environmental control (EC) devices to a clinician's or rehabilitation engineering prescription |
| --- | --- |

# Application of the Unit

| Application | This unit applies to workers within a rehabilitative environment requiring a broad knowledge base in assistive technology and the ability to apply solutions to a defined range of typical problems |
| --- | --- |

# Licensing/Regulatory Information

Not Applicable

# Pre-Requisites

Not Applicable

# Employability Skills Information

| Employability Skills | This unit contains Employability Skills |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements define the essential outcomes of a unit of competency. | The Performance Criteria specify the level of performance required to demonstrate achievement of the Element. Terms in italics are elaborated in the Range Statement. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Using prescriptions or scoping descriptions determine the client requirements for environmental control | 1.1 Consider prescription/scoping description and confirm all the required information has been provided. 1.2 Discuss and agree upon installation requirements with clients and (where relevant) other appropriate professionals. |
| 2. Select appropriate user interfaces, control systems and effectors | 2.1 Manufacture, assemble and/or modify an appropriate system to meet client requirements 2.2 Assess the environmental control system for operational competency 2.3 Document specifications for modification, installation, operation and maintenance in accordance with organisation policies and procedures |
| 3. Install environmental control systems | 3.1 Select appropriate system and components for installation and/or medication of the environmental control systems 3.2 Specify and implement arrangements for alterations to services and the built environment to facilitate installation of the EC system where appropriate 3.3 Install environmental control system using hand tools and/or machinery in accordance with OHS requirements, relevant standards and manufacturer's specifications 3.4 Arrange a trial of the system with the client in accordance with organisation policies and procedures 3,5 Program the control systems to client requirements 3.6 Mount or position user interfaces using appropriate supports 3.7 Provide specified power supply adaptations |
| 4. Maintain environmental control systems | 4.1 Diagnose EC, interface and computer faults at user level 4.2 Diagnose EC faults using appropriate diagnostic tools 4.3 Identify EC system faults and rectify at a module level. |
| 5. Maintain accurate records | 5.1 Establish and maintain records in accordance with organisation policies and procedures 5.2 Store records in line with organisation policies and procedures |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This describes the essential skills and knowledge and their level required for this unit.

Essential knowledge: The candidate must be able to demonstrate essential knowledge required to effectively do the task outlined in elements and performance criteria of this unit, manage the task and manage contingencies in the context of the identified work role This includes knowledge of: Appropriate practices to ensure efficient use of resources Hardware/firmware setup for commonly used assistive technology systems Safety and environmental aspects of relevant organisation activities Software setup for commonly used environmental control (EC) systems The full range of procedures to install an appropriate EC system Awareness of organisation policies and procedures in relation to the scope of the role of the rehabilitation technician: workplace procedures recording/documentation of processes and techniques Awareness of installation requirements of commercially available EC systems and electrical products Awareness of appropriate range and application of input devices Awareness of appropriate EC systems, electrical and telecommunication standards, terminology and troubleshooting requirements Awareness of the role of other practitioners in the field and in related fields including their roles, capabilities and limitations Awareness of Australian wiring code

Essential skills: It is critical that the candidate demonstrate the ability to: Communicate with clients and others Evaluate, problem solve and address a variety of commercially available EC system mounting and installation problems Identify design or performance problems and bring them to the attention of the appropriate person Identify EC system faults and rectify at a module level Identify environmental systems and appropriate means of control Liaise with suitably qualified trades people Maintain accurate records Make mounting and installation adjustments Measure fundamental angles, masses and lengths Read and make engineering drawings and sketches Select appropriate materials and techniques Select/design/mount user interface/s mounting device in conjunction with the therapist or rehabilitation engineer Use design skills in the appropriate selection of materials for EC systems and ancillary component manufacture and/or modification Use electrical/electronic measurement tools to diagnose external faults Use hand tools and machinery to undertake adjustments and modifications as required In addition, the candidate must be able to effectively do the task outlined in elements and performance criteria of this unit, manage the task and manage contingencies in the context of the identified work role This includes the ability to: Apply procedures and processes including reporting requirements Communicate and work effectively with work colleagues, associates and clients including team work and client confidentiality Communicate with client in order to obtain clear and precise information about proper use, maintenance and function of the device and/or its modifications Manage time and workload Use english literacy skills to the level required for fulfil job role in a safe manner Use numeracy skills to the level required to fulfil job role

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, the Range Statement and the Assessment Guidelines for this Training Package. |  |
| Critical aspects for assessment and evidence required to demonstrate this competency unit: | The individual being assessed must provide evidence of specified essential knowledge as well as skills Observation of workplace performance is essential for assessment of this unit Consistency of performance should be demonstrated over the required range of situations relevant to the workplace Where, for reasons of safety, space, or access to equipment and resources, assessment takes place away from the workplace, the assessment environment should represent workplace conditions as closely as possible |
| Access and equity considerations: | All workers in the health industry should be aware of access and equity issues in relation to their own area of work All workers should develop their ability to work in a culturally diverse environment In recognition of particular health issues facing Aboriginal and Torres Strait Islander communities, workers should be aware of cultural, historical and current issues impacting on health of Aboriginal and Torres Strait Islander people Assessors and trainers must take into account relevant access and equity issues, in particular relating to factors impacting on health of Aboriginal and/or Torres Strait Islander clients and communities |
| Context of and specific resources for assessment: | Assessment should replicate workplace conditions as far as possible. Simulations may be used to represent workplace conditions as closely as possible. Where, for reasons of safety, access to equipment and resources and space, assessment takes place away from the workplace, simulations should be used to represent workplace conditions as closely as possible. Resources essential for assessment include: access to an appropriate workplace access to normal supporting departments/professions |
| Method of assessment | Observation in the work place Written assignments/projects Case study and scenario as a basis for discussion of issues and strategies to contribute to best practice. Questioning Role play simulation |
| Related units: | This unit should be undertaken before or in conjunction with this unit HLTART404B Install and maintain augmentative and alternative communication (AAC) devices |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The Range Statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Add any essential operating conditions that may be present with training and assessment depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts. |  |
| Environmental Control Systems/Units may include: | Human/Technology Interface: control interface (hardware by which the client may access the device) selection techniques (access method used by clients) selection methods (direct or indirect coded access) selection set (language code) users visual display Processor: X10 coding systems infrared/ultrasonic/Bluetooth and other transmission methods setting recall output control Outputs to external devices including infrared, ultrasonic, X10 coding, home automation systems, serial, parallel, USB Physical construction size portability ease of mounting |
| Relevant professionals may include: | Rehabilitation engineers Medical practitioner Special education teacher Speech pathologist Occupational therapist Social worker Psychologist Orthotist Physiotherapist Architect Electrician Telecommunication engineers |
| Prescription information sources may include: | Architectural requirements Occupational therapy assessment Social work/psychology assessment Educational requirements |
| Selection criteria may include: | Client's ability to use the EC interfaces Functional posture and ability of the client EC system cost benefit Ability to service and maintain the system Availability of EC systems and maintenance capacity: locally, interstate and overseas Electrician assessment |
| Operational competency includes: | Optimising the ergonomics of the client interface with respect to the client's residual function |
| Services include: | Electrical Power Gas Telephone Data transmission modalities |
| Modification, installation and maintenance may include; | Adaptation of commercially available components for use with the EC system, AAC device or wheelchair controls Design and manufacture of unique components and devices for use with the EC system Adaptation of alternative manufacturer's components to provide an effective EC system Selection/design and installation of a power supply for all the elements of the EC system as required Selection and installation of commercially available mounting systems Programming/setting of protocols and codes for communication between parts of an EC system Identify EC system faults and rectify at a module level Record system settings (software/hardware) Maintain cabling and connectors, switches and other interfaces including mounting systems Replace/maintain batteries Observe infection control and universal precautions for keyboards/interfaces |
| Hand tools, measuring instruments and machinery may include: | Hand tools: general maintenance tools general metal and plastic cutting tools general metal an plastic forming tools general soldering tools Measuring instruments: multimeter oscilloscope logic probe continuity tester dial callipers Power tools: Drill angle grinder jig saw linisher grinder guillotine lathe drill/mill power saw/hacksaw bandsaw router |

# Unit Sector(s)

Not Applicable