# HLTDT516C Construct indirect composite polymer fixed restorations

Release: 1

HLTDT516C Construct indirect composite polymer fixed restorations

# Modification History

Not Applicable

# Unit Descriptor

| Descriptor | This unit of competency describes the skills and knowledge required to construct crowns, inlays, veneers bonded to metal substructures and metal-free bridges prepared indirectly on dies from composites that have been processed in the laboratory All procedures are carried out in accordance with occupational health and safety policies and procedures, current infection control guidelines, Australian and New Zealand standards, state/territory legislative requirements and organisation policy |
| --- | --- |

# Application of the Unit

| Application | This unit applies to work in dental technology |
| --- | --- |

# Licensing/Regulatory Information

Not Applicable

# Pre-Requisites

| Pre-requisite units | This unit must be assessed after successful achievement of pre-requisites: HLTIN301C Comply with infection control policy and procedures HLTDT519B Construct simple complete removable acrylic dentures and appliances HLTDT513C Construct fixed restorations |
| --- | --- |

# Employability Skills Information

| Employability Skills | This unit contains Employability Skills |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements define the essential outcomes of a unit of competency. | The Performance Criteria specify the level of performance required to demonstrate achievement of the Element. Terms in italics are elaborated in the Range Statement. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Prepare model | 1.1 Interpret work order 1.2 Treat model as required 1.3 Treat sub-structure (if used) for application of material |
| 2. Construct restoration | 2.1 Select appropriate system 2.2 Indicate margin as required 2.3 Select materials 2.4 Mix or manipulate materials 2.5 Apply and adapt materials 2.6 Treat surface of the restoration if required 2.7 Process material to industry standard |
| 3. Trim, shape and finish restoration | 3.1 Select rotary trimmers 3.2 Refine shape 3.3 Finish restoration according to work order requirements 3.4 Evaluate the finished restoration |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This describes the essential skills and knowledge and their level required for this unit.

Essential knowledge: The candidate must be able to demonstrate essential knowledge required to effectively do the task outlined in elements and performance criteria of this unit, manage the task and manage contingencies in the context of the identified work role This includes knowledge of: Applied oral anatomy dentition - arrangement of the teeth, naming and coding of teeth structures of the oral cavity - hard and soft palate, lateral and posterior borders of the oral cavity, tongue and floor of the mouth teeth - form and function Articulation and occlusion Colour Infection control guidelines for the decontamination of completed laboratory work Metallurgy - polymer science MSDS sheets Occupational health and safety policies and procedures Relevant material science for carrying out procedures

Essential skills: It is critical that the candidate demonstrate the ability to Consistently construct crowns, inlays, veneers bonded to metal substructures and metal-free bridges prepared indirectly on dies from composites that have been processed in the laboratory Consistently comply with current infection control guidelines, Australian Standards and legislative requirements as they relate to the dental technician's specific job role Consistently comply with occupational health and safety policies and procedures as they relate to the dental technician's specific job role In addition, the candidate must be able to effectively do the task outlined in elements and performance criteria of this unit, manage the task and manage contingencies in the context of the identified work role This includes the ability to: Consistently follow sequenced written instructions and manufacturer specifications for the preparation of materials Select appropriate materials, techniques and equipment Take into account opportunities to address waste minimisation, environmental responsibility and sustainable practice issues, including efficient use of power and other resources Use safe work practices to minimise the risk of transmission of infection including: consistently following the procedure for washing and drying hands consistently putting into practice clean techniques consistently using personal protective equipment consistently limiting contamination consistently maintaining clean receiving and work areas Use literacy skills to read and follow directions, policies and procedures including: occupational health and safety policies and procedures infection control policies and procedures material safety data sheets laboratory policies and procedures

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, the Range Statement and the Assessment Guidelines for this Training Package. |  |
| Critical aspects for assessment and evidence required to demonstrate this competency unit: | The individual being assessed must provide evidence of specified essential knowledge as well as skills Consistency of performance should be demonstrated over the required range of workplace situations |
| Context of and specific resources for assessment: | Simulations may be used to represent workplace conditions as closely as possible Where, for reasons of safety, access to equipment and resources and space, assessment takes place away from the workplace, simulations should be used to represent workplace conditions as closely as possible |
| Method of assessment | Evidence of essential knowledge and understanding may be provided by: traditional or online (computer-based) assessment written assignments/projects Case study and scenario as a basis for discussion of issues and strategies to contribute to best practice Questioning Staff and/or client feedback Supporting statement of supervisor Authenticated evidence of relevant work experience and/or formal/informal learning Role play/simulation |
| Access and equity considerations: | All workers in the health industry should be aware of access and equity issues in relation to their own area of work All workers should develop their ability to work in a culturally diverse environment In recognition of particular health issues facing Aboriginal and Torres Strait Islander communities, workers should be aware of cultural, historical and current issues impacting on health of Aboriginal and Torres Strait Islander people Assessors and trainers must take into account relevant access and equity issues, in particular relating to factors impacting on health of Aboriginal and/or Torres Strait Islander clients and communities |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The Range Statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. |  |
| Standard precautions may include but are not limited to: | A dedicated clean area to receive incoming cases Appropriate personal protection: disposable gloves apron eye protection mask where there is a risk of airborne transmission of infection Cleaning reusable containers with detergent followed by disinfection Decontamination Disposal of all packaging materials in accordance with the waste regulations of State/Territory health and environmental authorities Excluding all food and drink from the work area Washing hands before leaving the work area |
| Restorations may include : | Bridges Half and three-quarter crowns Implant supported restorations Inlays Maryland bridges On-lays Single full crowns Veneers |
| Evaluation of the finished restoration may include but is not limited to | Checking the restoration for: compliance with the prescription quality and freedom from defects functional effectiveness of the design accurate fit to the cast |

# Unit Sector(s)

Not Applicable