# ICTCBL201 Install customer cable support systems

Release: 1

ICTCBL201 Install customer cable support systems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to install support systems for cable infrastructure for new installations or upgrades, or maintain existing networks in domestic, commercial and industrial installations.

It applies to individuals who work in technical roles planning cable routes and selecting and installing support structures for communications applications including digital and analog, telephony, data, video, digital broadcasting, computer networks, local area networks (LAN), wide area networks (WAN) and multimedia.

All customer cabling work in the telecommunications, fire, security and data industries must be performed by a registered cabler. All cablers are required to register with an Australian Communications and Media Authority (ACMA) accredited registrar.

# Unit Sector

Telecommunications – cabling

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare cable support installation | 1.1 Arrange access to site according to customer requirements, required procedures, site security arrangements and relevant legislation, codes, regulations and standards 1.2 Confirm site capacities for storage and location of cable feeders or establish alternative methods 1.3 Determine customer specifications, and manufacturer and enterprise requirements for cable support 1.4 Notify appropriate personnel of identified safety hazards at cabling worksite 1.5 Plan cable route identifying and avoiding other services, and remote power feeding services operating at above telecommunications network voltage (TNV) on site in commercial buildings 1.6 Select tools and materials for installation of support system from work specifications and schedules |
| 2. Determine cable routes | 2.1 Review relevant plans and verify cable locations 2.2 Select cable routes appropriate to location of building services, providing access to all outlets and enabling cable to be supported to outlet point 2.3 Plan safe and efficient installation by accurate identification of structural building requirements and identified site constraints 2.4 Identify cable and services segregation clearances to ensure cable route complies with manufacturer, enterprise, legislative and industry codes of practice |
| 3. Determine support method | 3.1 Select appropriate support system for planned cable route and identified site constraints 3.2 Prepare support system for capability to meet planned concentration of cable in any location to facilitate ready access for maintenance and allow for future expansion |
| 4. Mark out and install fixings and support structure | 4.1 Mark out and install fixings and structures securely in safe manner to manufacturer’s specifications, ensuring cable weight can be supported in all operating conditions 4.2 Align support structure correctly to enable cable to be installed evenly, in order and without damage 4.3 Install protective earthing to industry standards 4.4 Conduct work with minimal disruption to ongoing customer activity |
| 5. Complete support installation | 5.1 Check and adjust installed supports to ensure cable will not be exposed to damage during installation and operation 5.2 Remove installation waste and debris from worksite and dispose of according to environmental requirements to maintain safe worksite conditions 5.3 Complete documentation |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.1, 2.1, 2.4 | Interprets textual information from relevant sources to identify relevant and key information |
| Writing | 1.4, 5.3 | Uses clear, specific and industry-related terminology to complete workplace documentation |
| Oral Communication | 1.4 | Uses clear language and concepts, and tone and pace appropriate for the audience and purpose |
| Numeracy | 1.2, 1.3, 1.5 | Takes readings and measurements and interprets results |
| Navigate the world of work | 1.1, 1.4, 2.3, 2.4, 4.1, 4.3, 5.2 | Complies with explicit policies, procedures and legislative requirements relevant to own role |
| Interact with others | 1.1, 1.4 | Identifies and follows accepted communication practices and protocols when liaising with internal and external personnel on technical and operational matters |
| Get the work done | 1.1-1.6, 2.2, 3.1, 3.2, 4.1-4.4, 5.1, 5.2 | Determines job sequence and works logically and systematically to undertake clearly defined tasks Analyses task requirements to decide on appropriate equipment and practices Selects and uses appropriate tools and equipment to perform tasks |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCBL201 Install customer cable support systems | ICTCBL2005B Install customer cable support systems | Updated to meet Standards for Training Packages | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2