# Assessment Requirements for ICTCBL202 Place and secure customer cable

Release: 1

Assessment Requirements for ICTCBL202 Place and secure customer cable

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of the ability to:

plan cable placement and discuss the installation requirements with appropriate personnel

organise tools, equipment and materials for cable installation according to specifications

set up cable dispensers for internal or external premises structures or aerial and underground cabling between premises

haul and install cables on support structures and building faces for both internal and external locations, applying relevant regulations and standards

install securing methods for above locations

complete records and relevant statutory forms

comply with all related work health and safety (WHS) requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

summarise building construction of commercial buildings

examine cable and services segregation clearances to ensure cable route complies with manufacturer, enterprise, legislative and industry codes of practice

describe features and operating requirements of equipment

indicate the information required to operate appropriate equipment according to specifications

explain installation methods and performance requirements

outline legislation, codes of practice and other formal agreements that impact on cable installation

state manufacturer’s requirements for safe operation of equipment

describe the common methods of hauling cable

discuss typical damage that can occur to cable when it is hauled incorrectly

discuss specific WHS requirements relating to the activity and site conditions

discuss typical safety issues and challenges that occur on cable installation sites.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the telecommunications – cabling field of work and include access to:

sites where placing and securing customer cable may be conducted

equipment currently used in industry

relevant regulatory and equipment documentation that impacts on cable installation activities.

Note: Work functions in the occupational areas where this unit may be used are subject to regulatory requirements. Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

Refer to the ICT Implementation Guide Companion Volume for recommended assessor details.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2