# ICTCBL204 Install functional and protective telecommunications earthing system

Release: 1

ICTCBL204 Install functional and protective telecommunications earthing system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to install telecommunications earthing system to metallic frames, which includes digital and analog, telephony, data, video, digital broadcasting, computer networks, local area networks (LAN), wide area networks (WAN) and multimedia.

It applies to telecommunications technicians and field officers who install indoor or outdoor earthing systems for domestic, small office home office (SOHO), commercial or industrial installations in multi-storey and multi-site locations within a client’s premises.

Licensing, legislative, regulatory and certification requirements apply to telecommunications earthing systems. All client cabling work in the telecommunications, fire, security and data industries must be performed by a registered cabler. All cablers are required to register with an Australian Communications and Media Authority accredited registrar.

# Unit Sector

Telecommunications – cabling

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to install telecommunications earthing system | 1.1 Prepare for given work according to relevant legislation, codes, regulations and standards 1.2 Arrange access according to client and individual site requirements 1.3 Select earth wire for purpose intended according to specifications or current Australian Standards 1.4 Establish location of earthing applications, minimising risks posed by contact with remote power feeding services 1.5 Select route to minimise interference to system performance and according to safe working practices 1.6 Select earthing materials to comply with relevant industry standards |
| 2. Install and secure earth cable | 2.1 Maintain cable separations to meet performance requirements of application environment 2.2 Check earth cable insulation is undamaged to ensure integrity of earth provided 2.3 Isolate protective earth (PE), functional earth and telecommunication reference conductors (TRC) at all times to ensure operation according to industry standards 2.4 Install and secure cable following work health and safety (WHS) and environmental requirements, meeting manufacturer’s specifications and industry standards |
| 3. Terminate and test earth cable installation | 3.1 Terminate earth with connectors recommended by manufacturer and according to industry standards 3.2 Maintain earth continuity at all times to ensure safe and reliable system operation 3.3 Maintain correct interface requirements with electrical systems according to industry standards 3.4 Test earthing system according to manufacturer’s specifications in safe manner 3.5 Rectify earth system faults, where required, prior to re-testing |
| 4. Complete task and documentation | 4.1 Label earthing systems according to industry regulations 4.2 Complete documentation, including test records 4.3 Clean up and restore worksite 4.4 Notify client and obtain sign off |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.1, 3.1, 3.4, 4.2 | Recognises when unknown words are essential to meaning and uses a range of decoding strategies to identify them Recognises the structures and distinguishing features of a range of text types |
| Writing | 1.2, 4.1-4.2 | Produces a range of text types (familiar and some unfamiliar) with appropriate structures |
| Oral Communication | 1.2, 4.4 | Demonstrates awareness of choices for register, especially in situations that are familiar |
| Navigate the world of work | 1.1-1.2, 1.4-1.6, 2.1, 2.3-2.4, 3.1, 3.3 | Takes personal responsibility for adherence to legal and regulatory responsibilities relevant to own work context, and draws attention to any issues that may affect self or others Recognises and follows explicit and implicit protocols and meets expectations associated with own role |
| Get the work done | 1.1-1.2, 1.4-1.6, 2.2, 3.4-3.5, 4.3 | Automatically implements standard procedures for routine decisions Initiates standard procedures when responding to familiar problems within immediate context |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCBL204 Install functional and protective telecommunications earthing system | ICTCBL2012A Install functional and protective telecommunications earthing system | Updated to meet Standards for Training Packages Minor changes to Performance Criteria for clarification | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2