# Assessment Requirements for ICTCBL205 Joint metallic conductor cable on customer premises

Release: 2

Assessment Requirements for ICTCBL205 Joint metallic conductor cable on customer premises

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

organise resources and prepare for the task of jointing

joint at least one 20 pair (or greater) cable

test joint

interpret test results

rectify cable faults

check that the enclosure is properly sealed

comply with all related work health and safety (WHS) requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

the current Australian Communications and Media Authority (ACMA) Competency Requirements for Telecommunications Cabling Provider Rules, legislation, codes of practice and other formal agreements that impact on the work activity

features and operating requirements of test equipment

information required to operate equipment according to a test specification

manufacturer’s requirements for safe operation of equipment

specific WHS requirements relating to the activity and site conditions

test methods and performance requirements

typical issues and challenges that occur on site

purpose, construction and characteristics of cable types

cable colour screening

basic telephony, including operation.

# Assessment Conditions

Skills in this unit must be demonstrated in a workplace or simulated environment where the conditions are typical of those in a working environment in this industry.

This includes access to:

sites where jointing metallic conductor cable may be conducted

use of joint testing equipment currently used in industry

relevant regulatory and equipment documentation that impacts on cable jointing and testing activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2