# ICTCBL205 Joint metallic conductor cable on customer premises

Release: 2

ICTCBL205 Joint metallic conductor cable on customer premises

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 5.0. Minor updates made to Knowledge Evidence. |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to joint metallic conductor cable.

It applies to individuals who work in technical roles completing tasks on customer premises in underground situations, pits, jointing enclosures or above ground.

All customer cabling work in the telecommunications, fire, security and data industries must be performed by a registered cabler. All cablers are required to register with an Australian Communications and Media Authority (ACMA) accredited registrar.

# Unit Sector

Telecommunications – cabling

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1 Prepare for jointing | 1.1 Arrange access to site according to required procedures 1.2 Inform appropriate personnel of identified hazards on worksite 1.3 Organise tools, equipment and materials for given work 1.4 Review site plans and documentation 1.5 Select cable type and requirements for cable joint |
| 2 Joint cable and test joint | 2.1 Joint metallic cable following work health and safety (WHS) and environmental requirements and complying with manufacturer’s requirements and relevant industry standards 2.2 Perform relevant cable tests to ensure joint complies with site specifications, manufacturer’s specifications and relevant legislation, codes, regulations and standards 2.3 Rectify any cable faults 2.4 Make visual inspection of joint to confirm soundness and completeness |
| 3 Complete records and clean up site | 3.1 Complete required records and notify customer 3.2 Remove installation waste and debris from worksite and dispose of according to environmental requirements to maintain safe worksite conditions 3.3 Reinstate site according to customer and company requirements |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interprets textual information from relevant sources to identify relevant and key information |
| Writing | Uses clear, specific and industry related terminology to complete workplace documentation |
| Numeracy | Takes readings and measurements and interprets results |
| Navigate the world of work | Complies with explicit policies, procedures and legislative requirements relevant to own role |
| Interact with others | Identifies and follows accepted communication practices and protocols when liaising with internal and external personnel on technical and operational matters |
| Get the work done | Determines job sequence and works logically and systematically to undertake clearly defined tasks Analyses task requirements to decide on appropriate equipment and practices |

# Unit Mapping Information

ICTCBL205 Joing metallic conductor cable on customer premises supersedes and is equivalent to ICTCBL2016A Joint metallic conductor cable on customer premises

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2