# Assessment Requirements for ICTCBL210 Install a telecommunications service to a building

Release: 2

Assessment Requirements for ICTCBL210 Install a telecommunications service to a building

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

prepare and install cable and equipment to a building complying with Australian Communications and Media Authority (ACMA), enterprise and government regulations

conduct tests related to transmission quality and continuity of cables at network entry point

label and document installation work, complying with industry codes of practice

comply with all related work health and safety (WHS) requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

information required to operate equipment according to a test specification

features and operating requirements of test equipment

legislation, codes of practice and other formal agreements that impact on the work activity

manufacturer’s requirements for safe operation of equipment

WHS requirements and work practices associated with cable provision, including:

adequate warning signs

protective clothing and personal safety items

safety devices

test methods and performance requirements

typical issues and challenges that occur on site.

# Assessment Conditions

Skills in this unit must be demonstrated in a workplace or simulated environment where the conditions are typical of those in a working environment in this industry.

This includes access to:

sites where telecommunications services may be installed

installation and testing equipment currently used in industry

relevant regulatory and equipment documentation that impacts on installation activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2