# ICTCBL213 Construct underground telecommunications infrastructure

Release: 1

ICTCBL213 Construct underground telecommunications infrastructure

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes skills and knowledge required to construct underground telecommunications infrastructure made up of conduits and enclosures for cabling provisioning.

It applies to individuals in technical roles in civil construction whose work involves the installation of pits and pre-built enclosures with connecting pipes for underground telecommunications infrastructure.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Unit Sector

Telecommunications – cabling

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to construct underground work | 1.1 Obtain construction design plan from appropriate personnel to scope work and arrange for site access 1.2 Notify appropriate personnel of identified safety hazards and other services 1.3 Obtain plant, tools and safety equipment to perform tasks safely and efficiently 1.4 Determine type of underground enclosure specified in construction design plan required for project |
| 2. Install enclosure | 2.1 Use tools according to enterprise guidelines and work health and safety (WHS) regulations 2.2 Place foundation of suitable material to provide safe and stable footing prior to installing underground enclosure in excavation 2.3 Place recognised barrier over construction where enclosure is to be installed over power cables according to enterprise requirements or agreements with other authorities 2.4 Install earth mat facility under enclosure where specified and required by enterprise 2.5 Install enclosure specified in construction design plan to manufacturer’s specifications using specified materials |
| 3. Install connecting pipe works | 3.1 Install conduit in trench to enterprise specifications 3.2 Connect conduit to enclosure according to manufacturer’s specifications and industry practice |
| 4. Complete project | 4.1 Complete reports according to enterprise policy and record alterations to plans using appropriate symbols 4.2 Recover obsolete materials and equipment, and return to appropriate point for disposal 4.3 Restore site according to requirements of enterprise or approving authority and to client satisfaction 4.4 Notify appropriate personnel of job completion and obtain sign off |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.1, 1.4, 2.5, 4.1 | Interprets information from technical sources to identify relevant and key information |
| Writing | 4.1, 4.4 | Documents outcomes and changes to plans using industry relevant terminology and recognised plan symbols |
| Numeracy | 1.4, 2.4, 3.1 | Interprets scales and ratios on plans Performs basic calculations appropriate to measuring and estimating size |
| Navigate the world of work | 1.2, 2.1-2.5, 3.2, 4.3 | Takes personal responsibility for adherence to legal and regulatory responsibilities relevant to own work context, and draws attention to any issues that may affect self or others |
| Interact with others | 1.1, 1.2, 4.4 | Identifies and follows accepted communication practices and protocols when liaising with clients, internal and external personnel on technical and operational matters |
| Get the work done | 1.1, 1.4, 2.1-2.5, 3.1, 4.2, 4.3 | Determines job sequence and works logically and systematically to undertake clearly defined tasks Analyses task requirements to decide on appropriate equipment and practices Implements actions as per plan, making slight adjustments if necessary, and addressing some unexpected issues Automatically implements standard procedures for routine decisions in response to familiar problems |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCBL213 Construct underground telecommunications infrastructure | ICTCBL2133A Construct underground telecommunications infrastructure | Updated to meet Standards for Training Packages Performance Criteria clarified | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2

Assessment Requirements for ICTCBL213 Construct underground telecommunications infrastructure

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of the ability to:

interpret and apply design plans and prepare for construction

install enclosures including pipe, pit and prefabricated manhole

construct in two different soil types: sand, rock, soil or combination soil types

shore an excavation site to meet enterprise and regulatory requirements

demonstrate use of specialised hand or power tools and equipment normally used for excavation, pipe, conduit installation and site restoration safely

complete the works and documentation

apply related work health and safety (WHS) requirements and work practices associated with excavation, enclosure installation and site restoration.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

describe the following elements of civil construction:

construction plant, tools and equipment operation

enclosure construction methods

foundations

plans

identify legislation, codes of practice and other formal agreements that impact on the work activity

identify the manufacturer’s requirements for safe operation of equipment

identify specific WHS requirements relating to the activity and site conditions

identify typical issues and challenges that occur on site.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the telecommunications – cabling field of work and include access to:

sites where enclosure construction may be conducted

construction equipment currently used in industry

relevant regulatory and equipment documentation that impacts on construction.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2