# Assessment Requirements for ICTCBL242 Install functional and protective telecommunications earthing system

Release: 1

Assessment Requirements for ICTCBL242 Install functional and protective telecommunications earthing system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

evaluate earthing needs for cable systems on customer premises

determine potential earthing locations

comply with all related work health and safety (WHS) and environmental requirements and work practices

determine earth route and support system

install earth to a backmount, rack or enclosure

manage remote power feed services.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

legislation, regulations, codes, standards, rules, guidance notes and other formal agreements that impact on work, in particular:

wiring rules

mandatory and voluntary technical standards

Australian Communications and Media Authority (ACMA) competency requirements for Telecommunications Cabling Provider Rules

national and state/territory WHS requirements

workplace and worksite requirements

specific WHS and environmental requirements relating to the activity and site conditions, including typical safety issues and challenges that occur on site

features and operating requirements of test equipment

information required to operate equipment according to a test specification

types of location in which installations may be required

manufacturer requirements for safe operation of equipment

test methods and performance requirements

purpose, construction, and characteristics of types of cable used in performance evidence

cable screening types

recognition of colour codes

electrical earthing applications including electrical bonding and equipotential bonding

earth systems with functionality including elimination of interference from electromagnetic, radio frequency (RF) and power sources, and reduction of interference from electromagnetic RF and power sources.

switching systems earthing requirements

basic telephony including operation.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

special purpose tools, equipment and materials

a relevant telecommunications earthing system

cable plans and records.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

Work functions in the occupational areas where this unit may be used are subject to regulatory requirements. Refer also to the Requirements for assessors in the ICT Information and Communications Technology Training Package Companion Volume Implementation Guide.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2