# Assessment Requirements for ICTCBL246 Install, maintain and modify customer premises communications cabling: ACMA Restricted Rule

Release: 2

Assessment Requirements for ICTCBL246 Install, maintain and modify customer premises communications cabling: ACMA Restricted Rule

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 6.0. Release 2 created for editorial corrections. |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

complete a cabling installation and termination for:

three different types of telephone sockets:

Australian modular socket

RJ45, RJ12 or RJ11 modular socket

Mode 3 alarm socket

one network termination device (NTD), including the completion of TCA1 compliance forms and NTD records

apply cable conductor identification codes to connector pins

conduct tests and interpret cable test results

interpret and apply standards and regulations

comply with all related work health and safety (WHS) requirements and work practices

meet Australian Communications and Media Authority’s (ACMA) requirements

install earthing to suit cabling conditions

identify and rectify faulty cabling

use appropriate personal protective equipment when performing cabling tasks.

Note: Evidence must be provided at least once when a specific volume or frequency is not stated.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

legislation, regulations, codes, standards, rules, guidance notes and other formal agreements that impact on work, in particular:

Australian Communications and Media Authority (ACMA) Telecommunications Cabling Provider Rules, cabling registrars, cabler registration rules, regulations and standards

current Australian Standards including AS/CA S009:2013 Installation requirements for customer cabling (Wiring Rules)

national and state/territory WHS requirements

workplace and worksite requirements

cabling environment, cable type, cable identification, termination systems, earthing and protection, records

ACMA certified components list

labelling requirements

basic electrical principles of:

insulation, resistance

capacitance

impedance – as causes of, impedance, attenuation and cross-talk

cable conductor – types of codes

customer switching systems and services

printed circuit boards

cable screening types

colour codes

various cable types, their identifiers, termination systems, separations, support systems and fastening techniques used for communications cabling

features and operating requirements of recognised cabling specific industry test equipment

information required to operate equipment according to a test specification

manufacturer requirements for safe operation of equipment

test methods and performance requirements

installation requirements for underground and aerial cables including:

minimum depth of cover (below ground)

segregation from hazardous electrical and other services

earthing requirements

design parameters for underground cables with regards to the purpose they will serve and the prevention of water ingress.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

site/s on which communications cabling activities can be carried out

cabling and field equipment currently used in industry

licensing requirements and other site related documentation.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards. Refer also to the Requirements for assessors in the ICT Information and Communications Technology Training Package Companion Volume Implementation Guide.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2