# Assessment Requirements for ICTCBL252 Joint and terminate coaxial cable

Release: 1

Assessment Requirements for ICTCBL252 Joint and terminate coaxial cable

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

determine installation requirements, and check and prepare the site ready for coaxial cable installation

perform an in-line splice

perform jointing and termination of coaxial cable using specialised hand or power tools and equipment

complete waterproof jointed cable using heat shrinkage

apply related work health and safety (WHS) requirements and work practices

conduct signal strength tests and interpret results

fit jointed coaxial cable in suitable housing

check and adjust cable segregations

verify the installation complies with enterprise and manufacturer specifications and warranties

document work according to enterprise requirements.

Note: Evidence must be provided at least once when a specific volume or frequency is not stated.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

relevant legislation, regulations, codes, standards, enterprise guidelines, formal agreements and contracts that impact on the work activity

specific WHS requirements and environmental procedures relating to the activity and site conditions, including site security and typical safety issues and challenges that occur on site

range of coaxial cables and connectors and their application

information required to operate equipment according to a test specification

features and operating requirements of test equipment

manufacturer requirements for selection, installation and safe operation of equipment

test methods and performance requirements

impact that other services may have on installation work

operation of tools relevant to working with coaxial cable

environmental requirements for waste and debris disposal.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

site/s where jointing coaxial broadband cable can be conducted

special purpose tools, equipment and materials currently used in industry such as joint testing equipment

relevant regulatory and equipment documentation that impacts on cable jointing and testing activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2