# ICTCBL303 Install and terminate coaxial cable

Release: 2

ICTCBL303 Install and terminate coaxial cable

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |
| Release 1 | This unit first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to install and terminate coaxial cable on client premises in communications applications, digital and analog, including master antenna television (MATV), cable television (CATV), closed-circuit television (CCTV), digital video broadcasting – terrestrial (DBVT), digital video broadcasting – satellite (DVB-S), data and video, including digital broadcasting, computer networks such as local area networks (LAN) and wide area networks (WAN), and multimedia.

It applies to technical staff who install and terminate coaxial cable for new installations, upgrades or the maintenance of existing networks in domestic, commercial and industrial installations on a client’s premises.

Where this unit of competency is undertaken as a competency related to the ACMA Cabler Registration, this requires prior completion of ICTCBL247 and a WHS/OHS unit of competency.

All cabling work for clients in the telecommunications, fire, security and data industries must be performed by a registered cabler. All cablers are required to register with an Australian Communications and Media Authority (ACMA) accredited registrar.

# Unit Sector

Telecommunications – cabling

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to install and terminate coaxial cable | 1.1 Prepare for given work according to relevant legislation, codes, regulations and standards 1.2 Arrange access to site according to required procedure 1.3 Inform appropriate personnel of identified hazards on worksite 1.4 Select coaxial cable type, connectors and manufacturer’s tool to comply with installation environment and client requirements 1.5 Check proposed route and bend radius to meet manufacturer’s specifications and industry standards 1.6 Test cable on drum for continuity and inspect visually for crushing and kinks 1.7 Discuss with client proposed method of installation and cable route, and adjust if necessary |
| 2. Install, terminate and test coaxial cable | 2.1 Maintain cable segregation to industry standards 2.2 Protect integrity of coaxial shield cable to ensure no loss of signal during operation and maintain bend ratios to not exceed manufacturer’s specifications and industry standard 2.3 Install cable securing hardware to ensure cable is not crushed or kinked while maintaining cable manufacturer’s bend radius 2.4 Install cable following work health and safety (WHS) and environmental requirements, and complying with manufacturer’s specifications and industry standards 2.5 Terminate cable and perform type of termination specified in plan using safe work practices and according to manufacturer’s specifications 2.6 Test termination for transmission loss and signal levels, and re-terminate the coaxial cable if the transmission loss exceeds the manufacturer’s specifications 2.7 Record all measurements 2.8 Fit over-voltage protection devices to all cables with metallic component where required |
| 3. Remove termination waste from work area | 3.1 Clean work area thoroughly to minimise risk of injury from loose metal strands 3.2 Dispose of waste safely according to relevant environmental requirements 3.3 Restore worksite to client’s satisfaction |
| 4. Document installation | 4.1 Update plans and records with details of installation and test results 4.2 Show client completed work and ensure work matches agreed method of installation and cable route 4.3 Notify client of work completion and obtain sign off |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Reads and interprets plans, specifications, and other documentation from a variety of sources and consolidates information |
| Writing | Accurately records information and prepares documentation using clear language and organisational formats and protocols |
| Oral Communication | Demonstrates an awareness of the need to vary structure, style, tone and vocabulary to meet the requirements of the audience, context and purpose |
| Numeracy | Makes calculations appropriate for measuring and estimating materials Performs mathematical calculations to check, interpret and confirm results of system tests |
| Navigate the world of work | Takes personal responsibility for adherence to legal and regulatory responsibilities relevant to own work context, and draws attention to any issues that may affect self or others |
| Interact with others | Recognises the purpose of various communications directly relevant to own role |
| Get the work done. | Implements actions as per plan, making slight adjustments if necessary, and addressing some unexpected issues Automatically implements standard procedures for routine decisions in response to familiar problems Understands when to take responsibility and when to notify others |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCBL303 Install and terminate coaxial cable (Release 2) | ICTCBL303 Install and terminate coaxial cable (Release 1) | Updates to application and knowledge evidence. Updates to template to apply consistent format between units. | Equivalent unit |

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2