# Assessment Requirements for ICTCBL314 Install network cable equipment

Release: 1

Assessment Requirements for ICTCBL314 Install network cable equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of the ability to:

prepare for installation of network cable equipment

provide cable infrastructure

install cable equipment support structure for power, alarms and interrogation requirements

install equipment, test and interpret test results

label equipment correctly

safely use any specialised hand or power tools and equipment

apply regulations and standards related to the installation

comply with all related health and safety requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

identify and select cabling types, connectors and cabling structures

identify connections to carrier infrastructure or equipment, such as main distribution frame (MDF) or customer interface units (CIU)

describe the network cable installation requirements for the client’s equipment

define the electrical and/or optical properties to be measured

identify the health and safety considerations including:

electrical safety

lifting hazards

manufacturer’s requirements for safe operation of equipment

describe the test methods and performance requirements to be used

identify the typical issues and challenges that occur on the worksite

describe the purpose of warranties and service level agreements.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the telecommunications – cabling field of work and include access to:

a site where installation of network cable equipment may be conducted

plant, tools and equipment currently used in industry

relevant regulatory and equipment documentation that impacts on work activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2