# Assessment Requirements for ICTCBL315 Maintain cable network

Release: 1

Assessment Requirements for ICTCBL315 Maintain cable network

# Modification History

| Version | Comments |
| --- | --- |
| Version 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of the ability to:

maintain cables, cable supports and enclosures

test cables and equipment and interpret results

undertake remedial action on damages

safely use specialised hand or power tools and equipment

apply regulations and standards related to the maintenance

comply with all related health and safety requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

recognise and select cabling types, connectors and cabling structures

identify connections to carrier infrastructure or equipment, such as main distribution frame (MDF) or customer interface units (CIU)

describe the maintenance requirements of the equipment at the client’s premises

identify the electrical and optical properties to be measured

specify the health and safety considerations including:

electrical safety and lifting hazards

manufacturer’s requirements for safe operation of equipment

identify and select the test methods and performance requirements for the maintenance work

identify the typical issues and challenges that occur on the worksite

describe the purpose of warranties and service level agreements in relation to maintenance work.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the telecommunications – cabling field of work and include access to:

sites where maintenance of network cable may be conducted

equipment currently used in industry

relevant regulatory and equipment documentation that impacts on maintenance activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2