# ICTCBL319 Rearrange large size copper cable

Release: 2

ICTCBL319 Rearrange large size copper cable

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 3.0. |

# Application

This unit describes the skills and knowledge required to modify a large size cable network or cut over new large size cables in the telecommunications access network. It includes telephony, data security and emergency services within the cable sheath.

It applies to linesworkers, technicians or copper jointers working for carriers, contractors or other service providers who cut over and rearrange large size cable to distribution cabinets and housings.

Work functions in the occupational areas where this unit may be used are subject to regulatory requirements. Refer to the Implementation Guide Companion Volume or the relevant regulator for specific guidance on requirements.

# Unit Sector

Telecommunications – cabling

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for cable modification and cutover | 1.1 Obtain relevant legislation, codes, client practices, regulations and standards for given work 1.2 Obtain project plan from appropriate personnel and use it to scope work 1.3 Arrange for site access according to local government and other authority requirements 1.4 Inspect site to develop a work health and safety (WHS) plan and notify appropriate personnel of identified safety hazards 1.5 Determine cable route and type of cable from project plan, and identify and avoid other services 1.6 Determine large size cable handling and support facilities 1.7 Obtain plant, tools, safety equipment and material to perform tasks safely and efficiently 1.8 Prepare implementation plan with cutover tasks based on identified nature of job and seek client approval, if required 1.9 Notify client and network carrier of proposed cutover details and proposed disruption to services 1.10 Undertake additional preparatory non-jointing work, as required, according to client practices and site conditions 1.11 Coordinate labour required for remote cutover of large size cable |
| 2. Joint and cutover cable | 2.1 Follow WHS and environmental requirements for given work 2.2 Notify appropriate personnel of cable pressure and equipment alarms 2.3 Prepare joint enclosure and jointing cabinet for cutover cable entry, jointing activities and entry port enclosure sealing 2.4 Set up jointing machines and jigs for jointing 2.5 Joint cable according to jointing sequence, materials, joint type, location, and client practices and manufacturer’s guidelines and to meet service level agreements (SLAs) 2.6 Test cable for performance and rectify any faults relating to cutover according to location, materials available and client practice 2.7 Seal all joints according to cable type, location, and enterprise and manufacturer’s guidelines |
| 3. Arrange cables and secure site | 3.1 Arrange cables in jointing chamber or cabinet according to client practices 3.2 Recover obsolete materials and return to appropriate point for disposal 3.3 Restore site according to client practices and other authority requirements |
| 4. Complete project documentation | 4.1 Complete reports on cutover installation, and design amendments to reflect existing cable layout, according to client practices 4.2 Notify appropriate personnel of completion of cutover and obtain sign off |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interprets plans, specifications and other documentation from various sources Consolidates information to determine requirements Analyses test results and data from a range of sources against defined criteria and requirements |
| Writing | Documents outcomes and changes to plans using industry relevant terminology and recognised plan symbols Prepares documentation and correspondence using clear language and correct spelling and terminology |
| Oral Communication | Interacts effectively in verbal exchanges using appropriate language, listening and questioning skills to convey and clarify information |
| Numeracy | Make calculations required for measuring and estimating materials for construction Performs mathematical calculations to check, interpret and confirm results of system tests |
| Navigate the world of work | Complies with policies, procedures and legislative requirements relevant to own role |
| Interact with others | Uses appropriate practices and protocols to communicate effectively with colleagues, clients and others |
| Get the work done | Plans, sequences and carries out tasks according to meet required outcomes Analyses task requirements to decide on appropriate equipment and practices Uses problem solving processes to address less predictable problems, referring to standard procedures to determine solutions |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCBL319 Rearrange large size copper cable (Release 2) | ICTCBL319 Rearrange large size copper cable (Release 1) | Updates to performance criteria and knowledge evidence. Updates to template to apply consistent format between units. | No equivalent unit |

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2