# Assessment Requirements for ICTCBL334 Install underground enclosures and conduit

Release: 1

Assessment Requirements for ICTCBL334 Install underground enclosures and conduit

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria and foundation skills, and to:

interpret and apply design plans and prepare for construction

use specialised hand or power tools and equipment normally used for excavation, pipe, pit and conduit installation and site restoration, safely

excavate for installation of an enclosure and conduit according to industry standards, applying related health and safety requirements and work practices

install enclosure and conduit according to specifications and industry standards.

Note: Evidence must be provided at least once when a specific volume or frequency is not stated.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria and foundation skills, which includes knowledge about:

features and operating requirements of excavation and installation to select appropriate equipment

existing underground services

manufacturer requirements for safe operation of equipment

legislation, regulations, codes, standards and other formal agreements that impact on the work activity

construction design plans

specific work health and safety and environmental requirements relating to the activity and site conditions

components required for enclosures, pits and conduit

methods of installing enclosures and conduit as they apply to manufacturer specifications and regulatory requirements

typical issues and challenges that occur on site.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

site/s where installation of underground enclosures and conduit can be conducted

installation pits, enclosures and conduit currently used in industry

relevant regulatory and equipment documentation that impacts on cable installation activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards. Refer also to the Requirements for assessors in the ICT Information and Communications Technology Training Package Companion Volume Implementation Guide.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2