# ICTCMP201 Organise and monitor cabling to ensure compliance with regulatory and industry standards

Release: 1

ICTCMP201 Organise and monitor cabling to ensure compliance with regulatory and industry standards

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to organise teams undertaking cabling work on all cable types, and to ensure compliance with regulatory and industry standards.

It applies to technical staff supervising teams within a customer premises and ensuring compliance with the Australian Communications and Media Authority (ACMA) and industry standards. They may make use of formal documentation, such as accurate completion of a telecommunications cabling advice (TCA) form (TCA1 form), test routines and databases.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Unit Sector

Telecommunications – Compliance

# Elements and Performance Criteria

| Element | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Organise cabling work activity | 1.1 Arrange access to site according to required procedure 1.2 Make worksite safe by identifying and controlling hazards 1.3 Review site plans and documentation 1.4 Organise supply of cable, equipment, tools and materials in line with customer and manufacturer’s specifications 1.5 Schedule and allocate work 1.6 Establish communication protocols and processes |
| 2. Monitor work activity | 2.1 Manage remote power feed following workplace health and safety (WHS) and environmental requirements 2.2 Monitor work activity to ensure it meets site specifications, enterprise requirements, and relevant legislation, codes, regulations and standards 2.3 Reallocate work as needed |
| 3. Complete records and obtain sign off | 3.1 Complete required records 3.2 Ensure installation waste and debris is removed from worksite and disposed of according to environmental requirements to maintain safe worksite conditions 3.3 Ensure site is reinstated according to customer and company requirements 3.4 Notify customer and obtain sign off |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.3, 1.4, 3.3 | Reads and interprets plans, specifications and other documentation from a variety of sources and consolidates information to determine requirements |
| Writing | 1.1, 1.6, 3.1, 3.4 | Prepares workplace documentation and correspondence using clear language, correct spelling and accurate terminology |
| Oral Communication | 1.1, 1.6, 3.4 | Uses everyday language to provide information or maintain a conversation in familiar spoken contexts |
| Numeracy | 1.3, 2.2 | Makes calculations appropriate for measuring and estimating materials |
| Navigate the world of work | 1.1, 1.6, 2.1, 2.2, 3.2, 3.3 | Follows clear instructions within defined level of responsibility Recognises organisational expectations and follows explicit protocols and procedures Seeks clarification when required |
| Interact with others | 1.6, 2.3, 3.4 | Follows instructions regarding what and how to communicate following predetermined scripts Recognises common differences in other people and implements basic strategies to address own reaction to these differences |
| Get the work done | 1.1, 1.2, 1.4, 1.5, 2.1-2.3, 3.2, 3.3 | Follows clearly defined instructions and sequencing, and monitors own progress for the task, seeking assistance when necessary Responds to highly obvious routine problems using step-by-step instruction and procedures or a trial and error process for non-critical situations Uses digital technologies following strict instructions to enter and retrieve data |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCMP201 Organise and monitor cabling to ensure compliance with regulatory and industry standards | ICTCMP2022B Organise and monitor cabling to ensure compliance with regulatory and industry standards | Updated to meet Standards for Training Packages Code change | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2