# ICTCMP202 Perform restricted customer premises broadband cabling work: ACMA Restricted Rule

Release: 1

ICTCMP202 Perform restricted customer premises broadband cabling work: ACMA Restricted Rule

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to install simple point-to-point broadband cabling on a customer’s premises.

The unit applies to technical staff who install and terminate new installations or upgrades, or maintain existing networks in domestic premises, including small office / home office (SOHO) and small commercial premises that do not have a main distribution frame (MDF) or jumperable distributor as the network boundary point.

Work functions in the occupational areas where this unit may be used are subject to regulatory requirements. Refer to the ICT Implementation Guide Companion Volume or the relevant regulator for details of licensing, legislative or certification requirements.

# Pre-requisite Unit

ICTCBL236 Install, maintain and modify customer premises communications cabling: ACMA Restricted Rule

### OR

ICTCBL201 Install customer cable support systems

and ICTCBL202 Place and secure customer cable

and ICTCBL203 Terminate metallic conductor customer cable

and ICTCMP201 Organise and monitor cabling to ensure compliance with regulatory and industry standards

# Unit Sector

Telecommunications – Compliance

# Elements and Performance Criteria

| Element | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for installation | 1.1 Arrange access to site and organise tools and equipment for specialised broadband cabling for restricted cabling work 1.2 Review site according to work health and safety (WHS) and environmental requirements and assess hazards 1.3 Determine cable route and cabling environment meet manufacturer specifications, industry standards and regulatory requirements |
| 2. Install broadband cable | 2.1 Place and secure correct cable type according to accepted industry practice and relevant regulations and standards 2.2 Maintain cable and services separations in runs and crossovers to meet manufacturer specifications and relevant legislation, codes, regulations and standards 2.3 Fit over-voltage protection devices to cables and metallic components where required |
| 3. Terminate and test broadband cable | 3.1 Terminate cable according to accepted industry practice and relevant legislation, codes, regulations and standards 3.2 Maintain correct twist ratio to optimise system performance at rated level 3.3 Conduct compliance testing of cable installation and termination with suitable tester and record compliance 3.4 Supply system performance documents to client and complete cabling records and telecommunications cabling advice forms (TCA1) as required |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.3, 2.1, 2.2, 3.2 | Evaluates information and products from a variety of sources to ensure appropriateness to client needs and specifications |
| Writing | 3.3, 3.4 | Prepares documentation and correspondence using clear language, correct spelling and accurate terminology |
| Numeracy | 1.3, 2.1, 2.2 | Make calculations appropriate for measuring and estimating materials for installations |
| Navigate the world of work | 1.2, 1.3, 2.1, 2.2, 3.1 | Understands rights and responsibilities and complies with legal and regulatory requirements |
| Get the work done | 1.1, 2.1-2.3, 3.1-3.3 | Plans and implements routine tasks and workload making limited decisions on sequencing, timing and collaboration, seeking assistance in setting priorities Responds to predictable routine problems and implements solutions Makes decisions within familiar situations, based on a range of predefined or routine solutions |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTCMP202 Perform restricted customer premises broadband cabling work: ACMA Restricted Rule | ICTCMP2239B Perform restricted customer premises broadband cabling work: ACMA Restricted Rule | Updated to meet Standards for Training Packages. Changed prerequisite units. | No equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2

Assessment Requirements for ICTCMP202 Perform restricted customer premises broadband cabling work: ACMA Restricted Rule

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of ability to:

review site and determine cable requirements for installation

install and terminate fixed broadband cable to industry standards and manufacturer’s specifications

verify installed network is working and accessing the internet, and perform a data rate qualification test, recording test results

provide a report to client, documenting installation and test results

comply with all related work health and safety (WHS) requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete unit requirements safely and effectively, the individual must:

summarise the Australian Communications and Media Authority (ACMA) cabling provider rules, cabler registration rules, regulations and standards

describe the types of cable test methods and system performance requirements

identify the types of cabling situations and the resultant installation requirements

describe features and operating requirements of applicable test equipment

determine information required to operate equipment according to a test specification

discuss key components of codes of practice and other formal agreements that impact work activity

identify and describe manufacturer requirements for safe operation of equipment

specify hazards and work health and safety regulations (WHS) relating to cabling activities and site conditions

describe techniques for terminating data cable

identify typical installation issues and challenges that may occur on cabling worksites

identify and describe tools and equipment required for cabling works

list and identify industry standards and regulatory requirements relevant to cabling

specify cable separations and over-voltage protection requirements necessary for specific cable installations

describe regulatory and industry standard documentation required for cabling.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the Telecommunications – Compliance field of work and include access to:

sites where installation and termination of cabling may be conducted

use of industry-current tools, testing equipment and personal protective equipment

relevant regulatory and equipment documentation that impact installation activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2