# ICTDRE303 Install a complex digital reception system

Release: 2

ICTDRE303 Install a complex digital reception system

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to design, install, test and commission a complex digital reception broadband service system.

It applies to individuals who work on complex radio frequency (RF) and digital distribution systems, such as master antenna television (MATV) and satellite master antenna television (SMATV), in commercial or multi-dwelling unit (MDU) environments.

No licensing, legislative or certification requirements apply at the time of publication.

# Unit Sector

Telecommunications – Digital Reception Technology

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Plan installation of a complex digital reception system | 1.1 Notify customer to arrange access to site and identify customer equipment 1.2 Select type of complex digital systems and consequent constraints on installation according to customer specifications 1.3 Complete a job safety analysis (JSA) identifying work health and safety (WHS) issues 1.4 Prepare for installation according to relevant legislation, codes, regulations and standards 1.5 Verify design requirements are suitable for site application and required system performance |
| 2. Assemble complex digital reception system | 2.1 Select and obtain materials, tools and equipment for installation 2.2 Select suitable headend location and cable access 2.3 Build headend according to design requirements and manufacturer’s specifications 2.4 Configure headend and distribution devices to operate according to design and manufacturer’s specifications 2.5 Run cables along identified routes 2.6 Terminate cables according to both design and manufacturer’s specifications |
| 3. Test and commission system | 3.1 Conduct performance test operation of headend and distribution devices 3.2 Activate system and conduct signal measurement using test equipment 3.3 Record and analyse initial test results for quality of service according to design specifications 3.4 Rectify identified faults and adjust system to optimal operation 3.5 Conduct final signal measurement using test equipment to optimise performance 3.6 Update design plans to ‘as built’ status |
| 4. Complete administrative tasks | 4.1 Record final commissioning test results and settings in line with client requirements 4.2 Complete appropriate records and test results, and store according to policy 4.3 Complete all financial and other documentation 4.4 Hand over to customer and obtain sign off |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interprets textual information from relevant sources to identify relevant and key information |
| Writing | Uses clear, specific and industry related terminology to complete workplace documentation |
| Oral Communication | Articulates clearly using appropriate language for environment and uses listening techniques to confirm understanding |
| Numeracy | Takes readings and measurements and interprets results |
| Navigate the world of work | Takes responsibility for following safe, sustainable, appropriate, and efficient workplace procedures |
| Interact with others | Makes contact with customer Deals with customer to obtain sign-off on completed work |
| Get the work done | Plans, organises and implements tasks efficiently to meet customer requirements Identifies and resolves problems |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTDRE303 Install a complex digital reception system | ICTDRE303 Install a complex digital reception system | Updates to application and knowledge evidence. Updates to template to apply consistent format between units. | Equivalent unit |

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2