# Assessment Requirements for ICTDRE304 Design communications wiring systems for customer premises

Release: 1

Assessment Requirements for ICTDRE304 Design communications wiring systems for customer premises

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of ability to:

capture customer functional needs for wiring system

apply industry standards, regulations and codes of practice when designing a wiring system for a customer

develop a detailed design in compliance with industry practices, including signal losses and/or expected measurements to be achieved at wall plates

document the design, including a bill of materials, schedule of work and associated costs and submit to customer.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

identify and describe cabling standards, regulations and codes applicable to cable design

determine building regulations that apply to installation of cabling systems

identify and describe codes of practice and Australian Communications and Media Authority (ACMA) standards for home wiring

determine carrier network delivery systems used in single dwelling and multi-dwelling units for:

fibre

fixed wireless

satellite

twisted copper pair

subscription TV

evaluate cabling requirements of home technology applications taking into account:

the user needs including age and assisted living conditions

communications

digital home health

energy management

entertainment

intelligent light and power

security and safety

identify and describe testing and commissioning methods and determine performance requirements for home technologies

describe customer interface elements commonly considered when designing a wiring system

identify common service providers clients may specify

consider safety implications of the design for users

identify design parameters for cable selection and support system of a wiring system

identify documentation required when submitting a design to a customer.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances should be typical of those experienced in the Telecommunications – Digital Reception Technology industry and include access to:

a contemporary dwelling design

a specification of a customer’s functional requirements

current standards, codes of practice and regulations.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2