# ICTDRE304 Design communications wiring systems for customer premises

Release: 1

ICTDRE304 Design communications wiring systems for customer premises

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to design a smart cable wiring system on a customer premises.

It applies to individuals employed in a technical capacity for the emerging information technologies and applications in domestic and small to medium enterprises.

Work functions in the occupational areas where this unit may be used are subject to regulatory requirements. Refer to the ICT Implementation Guide Companion Volume or the relevant regulator for details of licensing, legislative or certification requirements.

# Pre-requisite Unit

ICTCBL237 Install, maintain and modify customer premises communications cabling: ACMA Open Rule

# Unit Sector

Telecommunications – Digital Reception Technology

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to design a wiring system for premises | 1.1 Consult customer and visit worksite to determine immediate and future functional needs of the cabling system 1.2 Identify and document immediate and future location of cabling system customer interface elements, and seek confirmation from appropriate persons 1.3 Review technology used to deliver functional needs 1.4 Identify specific service provider requirements and requirements of applicable standards, codes and regulations |
| 2. Design a wiring system for premises | 2.1 Follow work health and safety (WHS) procedures when carrying out work 2.2 Transfer functional needs of customer to architectural plans 2.3 Determine size and location of home distributor, security system, carrier and carriage service facilities, antennas and switch boards 2.4 Identify cable pathways and cable support systems 2.5 Select appropriate cable types to meet functional needs 2.6 Develop cable identification method to aid installation |
| 3. Document cable wiring system design | 3.1 Document customer interface elements room by room 3.2 Document requirements for home distributor, security system, carrier and carriage service facilities, antennas and switch boards 3.3 Document testing and commissioning requirements 3.4 Specify user documentation required after completion of installation 3.5 Provide customer quote that includes a bill of materials and a project schedule |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.3, 1.4, 2.2 | Reads and interprets plans, specifications and other documentation from a variety of sources and consolidates information to determine requirements Analyses and consolidates test results and data from a range of sources, against defined criteria and requirements |
| Writing | 1.1, 1.2, 2.2, 2.6, 3.1-3.4 | Develops procedural material for a specific audience using clear and detailed language to convey explicit information, requirements and recommendations Produces plans and specifications to industry standards conveying design function and operation |
| Oral Communication | 1.1, 1.2 | Effectively participates in verbal exchanges using collaborative and inclusive techniques including active listening and questioning and reading of verbal and non-verbal signals to convey and clarify information |
| Numeracy | 2.2, 2.3, 3.5 | Makes calculations appropriate for measuring and estimating materials and costing Performs mathematical calculations to establish scale and dimensions of design plans |
| Navigate the world of work | 1.4, 2.1 | Accepts responsibility and ownership for tasks and makes decisions on completion parameters and need for coordination with others Explores and implements, where identified, implicit expectations of policies, procedures and regulatory requirements |
| Interact with others | 1.1, 1.2 | Identifies and takes steps to follow accepted communication practices and protocols Recognises common cultural and other differences of people in the work context and makes adjustments in addressing differences |
| Get the work done | 2.2-2.6, 3.4 | Takes responsibility for planning, sequencing and prioritising tasks and own workload for efficiency, and effective outcomes Makes routine decisions and implements standard procedures for routine tasks, using formal decision-making processes for more complex and non-routine situations Identifies ideas for applications and considers them in current contexts |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTDRE304 Design communications wiring systems for customer premises | ICTDRE3248A Design communications wiring systems for customer premises | Updated to meet standards for Training Packages | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2