# Assessment Requirements for ICTOPN402 Use advanced optical test equipment

Release: 1

Assessment Requirements for ICTOPN402 Use advanced optical test equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of ability to:

obtain operation documentation for advanced optical test instruments

plan and prepare a schedule of tests to be performed

conduct optical tests

record measurements for a range of parameters

test, calculate and document optical link budget

comply with all related work health and safety (WHS) requirements and work practices.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

describe an optical system and its main components

identify hazards and risks for health and safety associated with optical systems

identify and describe common tests, measurements and testing plans used for optical systems

identify common wavelengths involved with optical systems

list and describe use of tools and test equipment for optical systems

explain consequences of mating contaminated optical connectors

perform calculations using decibels, dBm

discuss downstream and upstream signals

outline dense wavelength division multiplexing (DWDM) metro and long haul system architecture

summarise measurement of DWDM signals

explain measurement of gain and gain flatness of optical amplifier

discuss measurement of laser spectral stability, drift and unexpected variation in spectral transmission characteristics

explain non-linear effects, four-wave mixing

identify optical connector types

outline optical signal to noise ratio (OSNR)

summarise optical spectrum limits, wavelengths used in various applications and International Telecommunications Union (ITU) grid

identify optical transmitters and receivers

describe optical return loss (ORL)

discuss OTDR dead zones, dynamic range and launch cable reflectance

outline safe handling procedures with optical fibres

describe transmission system line rates:

optical ethernet

optical transport network (OTN)

synchronous digital hierarchy (SDH)

explain wavelength division multiplexing (WDM), coarse wavelength division multiplexing (CWDM) and DWDM principles and optical multiplexers

identify and explain influence of legislation, regulations, standards and codes of practice relevant to advanced optical work.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the Telecommunications – Optical Networks field of work and include access to:

tools and equipment required for measurements

manufacturer’s documentation for test instruments and equipment under test.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2