# ICTOPN404 Test optical communications systems and components

Release: 1

ICTOPN404 Test optical communications systems and components

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Application

This unit describes the skills and knowledge required to test optical communications systems and components using advanced optical test equipment. It involves using the optical time domain reflectometer (OTDR), optical spectrum analyser (OSA) and optical return loss (ORL) test set for performance testing and link budget calculation.

It applies to cablers who combine technical skills with organisational and administrative skills. They may be installation contractors, technical staff and field officers from telecommunications carriers or other private and public organisations or regulatory authorities.

No licensing, registration, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

ICTBWN307 Use optical measuring instruments

# Unit Sector

Telecommunications – Optical Networks

# Elements and Performance Criteria

| Element | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to use advanced optical measuring instruments | 1.1 Notify customer for site access, security arrangements and location details of optical system and test purpose 1.2 Identify site hazards and notify appropriate personnel to make site safe 1.3 Devise and implement risk control measures for hazards and risks associated with handling optical fibres and lasers, in consultation with appropriate personnel 1.4 Prepare a testing plan indicating the type of measurement, procedures and nominated wavelength, and seek approval from customer 1.5 Select appropriate tools and test instruments according to required measurement and enterprise practice |
| 2. Evaluate optical performance and link budget using advanced optical test equipment | 2.1 Set-up test instrument according to manufacturer instructions, and work health and safety (WHS) and environmental requirements 2.2 Perform measurement and tests in a safe manner to evaluate performance of optical system and component 2.3 Record test results and compare with standard test specifications from manufacturer and enterprise guidelines 2.4 Perform end-to-end measurements on an optical link and record test results and test points 2.5 Calculate optical losses for a link budget figure of an optical link 2.6 Evaluate test results and report on functionality of optical component or equipment and performance of optical link |
| 3. Document measurement results | 3.1 Document test results for future reference and make recommendations for optimising component and system performance 3.2 Clean worksite and make safe according to enterprise requirements and customer satisfaction 3.3 Notify appropriate personnel of job completion for sign-off and present test documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance, but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interprets textual information from relevant sources to plan, identify all job requirements and adhere to procedures and standards |
| Writing | Accurately completes relevant reports and documentation using clear and technically specific language and numerical data |
| Oral Communication | Uses listening and questioning skills to confirm understanding for requirements, participates in a verbal exchange of ideas and solutions, and uses appropriate, detailed and clear language to address key personnel and customers |
| Numeracy | Uses mathematical formulae to gather and record technical measurements |
| Navigate the world of | Takes personal responsibility for adherence to legal and regulatory responsibilities relevant to own work context with specific reference to workplace safety Understands main tasks, responsibilities and boundaries of own work |
| Interact with others | Actively identifies requirements of important communication exchanges, selecting appropriate channels, format, tone and content to suit purpose and audience |
| Get the work done | Takes responsibility for planning and organising own workload, identifying ways of sequencing and combining elements for greater efficiency Takes responsibility for routine decision-making by selecting from a range of predetermined options in routine situations, identifying and taking some situational factors into account Considers purpose, needs and limitations when selecting devices and applications for different tasks |

# Range of Conditions

Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment.

| Test equipment must include: | optical time domain reflectometer (OTDR) optical spectrum analyser (OSA) or equivalent optical spectrum analyser optical return loss (ORL) |
| --- | --- |
| Measurements must include: | optical power level insertion loss of optical network end-to-end fibre loss (bi-directional) |
| Optical performance must include: | wavelength spectrum parameters ODTR events |

# Unit Mapping Information

No equivalent unit. Supersedes and is not equivalent to ICTOPN402 Use advanced optical test equipment.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2