# Assessment Requirements for ICTOPN511 Test performance of specialised optical devices

Release: 1

Assessment Requirements for ICTOPN511 Test performance of specialised optical devices

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 7.0. |

# Performance Evidence

The candidate must demonstrate the ability to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including evidence of the ability to:

test at least two specialised optical devices and determine suitability for integration into at least two networks.

During the course of the above, the candidate must:

plan and coordinate test activities and equipment

analyse test results

report and make recommendations on suitability for integration

comply with all work health and safety (WHS) requirements and work practices.

# Knowledge Evidence

The candidate must be able to demonstrate knowledge to complete the tasks outlined in the elements, performance criteria and foundation skills of this unit, including knowledge of:

functions and features of evaluation reports

manufacturer testing specifications and distinguishing functions and features of specialised optical devices used in industry

types of test layouts commonly used in testing specialised optical devices

purpose of amplified spontaneous emission (ASE) source tests

attenuation characteristics of optical fibres

principles of operation for dense wavelength division multiplexing (DWDM)

features and operating requirements of the following test equipment:

a hand-held optical power meter

an optical spectrum analyser

a transmission test set

dispersion characteristics of various fibres

dispersion compensation devices

standard electrostatic discharge precautions

functions of an optical add-drop multiplexer (OADM) and reconfigurable optical add-drop multiplexer (ROADM)

gain equalisation theory

International Telecommunications Union (ITU) wavelength grid for DWDM

function of measurement of dispersion

optical amplifier operation features

optical fibre connector types and characteristics

optical fibre types and characteristics

‘optical return loss’ (ORL)

path protection and protection switching

polarisation dependent loss (PDL)

protocols used on optical DWDM systems

reflectance in optical systems

ring topologies and linear network topologies

WHS requirements that impact the safe inspection of optical connectors and the safe measurement of optical power from laser transmission systems

required legislation, codes, company work practices, regulations and standards and environmental requirements for scoped work.

tuneable laser sources and characteristics.

# Assessment Conditions

Skills in this unit must be demonstrated in a workplace or simulated environment where the conditions are typical of those in a working environment in this industry.

This includes access to:

test equipment used in industry

manufacturer technical documentation, legislation, codes and standards.

Assessors of this unit must satisfy the requirements for assessors in required vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guide is found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2