# Assessment Requirements for ICTSUS401 Install and test renewable energy system for ICT networks

Release: 1

Assessment Requirements for ICTSUS401 Install and test renewable energy system for ICT networks

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of the ability to:

determine and meet client requirements for installation of a renewable energy system

plan and connect hardware components according to vendor and technical specifications

follow all work health and safety (WHS) requirements.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

describe systems diagnostic features

explain business processes

identify client business domain, business function and organisation

outline compatibility issues and resolution procedures

discuss the configuration of internet protocol (IP) networks

identify current industry accepted hardware products and renewable energy system products

outline the essential components of client and business liaison

explain how to document technical specifications

describe the linkage between processes

describe vendor specifications and requirements for component installation

discuss the following technologies:

alternate energy, such as solar, wind and chemical

areas of the hardware relevant to configuration and testing

installation procedures

renewable energy system relevant to configuration and testing

renewable energy system functionality

set up and configuration procedures.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the telecommunications – sustainability field of work and include access to:

a site on which renewable energy solutions can be implemented

renewable energy systems currently used in industry

relevant documentation, feasibility studies, equipment manuals and other site related documentation.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion volumes are available from the IBSA website: - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2