# Assessment Requirements for ICTTEN201 Use electrical skills in telecommunications work

Release: 1

Assessment Requirements for ICTTEN201 Use electrical skills in telecommunications work

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of ability to:

use fundamental electrical principles to solve basic AC and DC electrical problems

connect and test an AC and DC circuit

evaluate and compare characteristics of analog and digital signals

compare and select cables according to transmission characteristics.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

describe principles of AC and DC electricity and how it impacts telecommunications work including:

AC and DC electrical SI units of measurement

work health and safety (WHS) issues

Ohm’s law and other relevant calculations

circuit configuration

identify and describe common AC and DC faults, fault finding techniques and use of testing equipment

explain application of binary to decimal conversion and vice versa

describe principles of analog and digital electronics and building blocks common to analog and digital circuits

explain the distinction between analog and digital signals and devices

explain encoding techniques and their application in wired, wireless and optical communications systems

outline features and applications of unshielded twisted pair (UTP), coaxial and fibre cables

list typical electronic devices, cable types and their applications

explain modulation techniques used in wired, wireless and optical communications systems

explain techniques to convert analog to digital and digital to analog

describe characteristics of signal transmission

list and describe common telecommunications cables and the characteristics of use and application.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances must be typical of those experienced in the Telecommunications Network Engineering field of work and include access to:

appropriate AC and DC testing equipment

manufacturer’s documentation and equipment

safety equipment.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2