# ICTTEN201 Use electrical skills in telecommunications work

Release: 1

ICTTEN201 Use electrical skills in telecommunications work

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required for an entry- level worker to use electrical skills, working with analog and digital, cabling and wireless networking in telecommunications.

It applies to individuals who undertake basic testing, circuit building, and evaluation of cable and wireless devices, and who may work in domestic, commercial or industrial situations.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Unit Sector

Telecommunications – Telecommunications Networks Engineering

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Connect up, test and verify DC and AC circuitry | 1.1 Identify any hazards and work health and safety (WHS) issues for a safe work site, and notify appropriate personnel 1.2 Connect a series and a parallel DC and AC circuit configuration following safe work practices 1.3 Choose appropriate test equipment and measure values of electrical quantities of circuits 1.4 Use calculations to verify measured values of electrical quantities in a series and in a parallel circuit configuration 1.5 Compare measured values to calculated values, and determine reasons for any variations 1.6 Measure low voltage (LV), extra low voltage (ELV) or telecommunications network voltage (TNV) to determine if values are within equipment or power supply specifications 1.7 Use appropriate test equipment to measure AC voltage (multimeter) or AC current (clamp meter) in a safe manner that does not require an LV circuit to be disconnected 1.8 Test residual current devices (RCD) or earth leakage devices to ensure they are operational prior to working with AC mains powered equipment, power supplies and tools 1.9 Evaluate results and determine probable faults, if relevant |
| 2. Evaluate analog and digital signals | 2.1 Compare characteristics of an analog signal and a digital signal 2.2 Produce a layout using building blocks to represent a typical analog and a digital circuit showing different characteristics between an analog signal and a digital signal 2.3 Produce 4-bit binary codes with their decimal equivalent to represent output voltages of a digital to analog converter 2.4 Choose appropriate test equipment and measure output voltage of a digital device for high and low logic states |
| 3. Perform cable selection | 3.1 Compare basic transmission characteristics of different types of cables used in telecommunications and select the most appropriate cable type to suit application characteristics 3.2 Connect two devices with a patch cable and test the connection |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 2.1, 3.1 | Interprets textual information to inform decision- making process |
| Writing | 2.2 | Uses industry specific language to produce technical documentation |
| Oral Communication | 1.1 | Articulates specific concerns and issues clearly and listens to and acts on responses of others |
| Numeracy | 1.4-1.6, 1.9, 2.2, 2.4 | Performs basic calculations to check data, make predictions and make comparisons Selects and uses appropriate tools to take measurements, analyse results and perform calculations |
| Navigate the world of work | 1.1, 1.2, 1.7, 1.8 | Follows legislative requirements and organisational protocols, policies and procedures relevant to own role |
| Get the work done | 1.3, 1.5, 1.6, 1.9, 2.3, 2.4, 3.1 | Determines job sequence and works logically and systematically to undertake clearly defined tasks Analyses task requirements to decide on appropriate equipment and practices Applies problem-solving processes to locate and resolve faults, and reviews impact of decisions |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTTEN201 Use electrical skills in telecommunications work | ICTTEN2008A Use electrical skills in telecommunications work | Updated to meet Standards for Training Packages | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2