# Assessment Requirements for ICTTEN309 Provide infrastructure for telecommunications network customer equipment

Release: 1

Assessment Requirements for ICTTEN309 Provide infrastructure for telecommunications network customer equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of ability to:

identify potential earthing locations, cable routes, cables support systems, data cabinets, telecommunication enclosures and distributors

construct metal superstructure and racks

install protective earth installations

organise AC mains power infrastructure

install uninterrupted power supply (UPS) back up power

notify customer of works progress.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

describe cabling types, connectors and cabling structures used in telecommunications networks

identify and describe common customer telecommunications applications and related equipment

identify connections to carrier infrastructure or equipment

identify and summarise current legislation relating to installation of telecommunications equipment and connection to carrier services

list tools and test equipment required for an infrastructure installation

describe the process of a site survey, and the data that should be recorded

describe environmental impacts, including options for information and communications technology (ICT) installations

discuss network topologies, interface and interconnect solutions

identify work health and safety (WHS) requirements for managing hazards on the worksite including:

confined spaces

electrical safety

working at heights

lifting

materials handling

physical hazards

summarise network and transmission customer equipment likely to be encountered

describe common backup UPS systems and AC mains power requirements and electrical safety for telecommunications networks

discuss types of warranty information for equipment supplies and contractor work guarantees

describe the importance of correctly labelling an installation.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances should be typical of those experienced in the telecommunications networks engineering field of work and include access to:

a site where installation of supporting infrastructure may be conducted, or a simulated environment

plant, tools and equipment currently used in industry

relevant regulatory and equipment documentation that impact work activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2