# Assessment Requirements for ICTTEN316 Conduct basic tests and analyses of telecommunications copper cabling

Release: 1

Assessment Requirements for ICTTEN316 Conduct basic tests and analyses of telecommunications copper cabling

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

select, set-up and operate test instruments for three different cable types from the following list:

structured cabling verification/qualification tester

wire mapper

oscillator and probe

spectrum analyser

DVB-T/S2 analyser

multimeter – analog and digital

time-domain reflectometer (TDR)

asymmetric digital subscriber line (ADSL)/very-high-bit-rate digital subscriber line (VDSL) test instruments

select appropriate instrument test cables and adaptors to suit test equipment for three different cable types and:

determine safety of cables to be tested (i.e. live or inactive)

identify calibration status of selected devices

confirm test results are within acceptable operational parameters.

Note: Evidence must be provided at least once when a specific volume or frequency is not stated.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

relevant legislation, regulations, codes, standards, rules, guidance notes and other formal agreements that impact on work, in particular:

AS/CA S008:2010 Requirements for customer cabling products

AS/CA S009:2013 Installation requirements for customer cabling (Wiring Rules)

AS/NZS 1367:2016 Coaxial cable and optical fibre systems for the RF distribution of digital television, radio and in-house analog television signals in single and multiple dwelling installations

AS/NZS 3000:2018 Electrical installations known as the Australian/New Zealand Wiring Rules

AS/NZS 3080:2013 Information technology - Generic cabling for customer premises (ISO/IEC 11801:2011, MOD)

AS/NZS 3084:2017 Telecommunications installations – Telecommunications pathways and spaces for commercial buildings

National Construction Code

work health and safety (WHS) regulations pertaining to electrical and electromagnetic telecommunications systems including energy supply sources

different copper cable types utilised to match transmitted and received signals

testing concepts and parameters used by test instruments including:

impedance, resistance, mismatches, crosstalk, reflections, ACR, spectrum, bandwidth, modulation depth, intermodulation, signal delay, group delay, normalisation, linearity, TDR, clock, jitter, latency, ping, signal to noise ratio (SNR), simplified Fourier analysis concepts, eye patterns, PAM4 or SDI, QAM patterns/constellations, MER, BER, FEC, signal losses, noise, interference, data rates, traffic, upload/download testing, signal levels, dBs, dBm, dBµ, dBr, dBµV

testing acronyms including expansion and meaning

common tests utilised with each copper cable telecommunication system

telecommunications systems utilised in the telecommunications industry including:

telephone/voice over internet protocol (VoIP) systems

mobile phones, security systems

closed-circuit television (CCTV) systems

fire protection systems

structured cabling systems

local area network (LAN) equipment, telemetry

equipment control and monitoring systems

automation control systems

entertainment and control systems

radio communications

wi-fi

radio links

satellite and digital television reception

private automatic branch exchange (PABX)

technical standards as applicable to copper cable systems

test devices as applicable to copper cables in each transmission medium

purpose and use of test results

solid core cable versus stranded core.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

safety procedures signage and personal protective equipment (PPE) for testing cable

cabling products and cable used in telecommunications systems

operating conditions that may be present within local industry and regional contexts

test equipment to test cable and identify test results, including:

wire mapper

oscillator and probe

spectrum analyser (available in DVB analyser)

DVB-T/S2 analyser

multimeter

TDR (available in SC certifiers)

ADSL/VDSL test instruments

typical cable types including:

Cat 6 UTP cable

Cat 6/7 STP cable

RG6 coaxial cable (quad shielded)

RG11 coaxial cable (quad shielded)

copper conductor ribbon cable

solid core cable

stranded core cable

appropriate connectors for testing cables

appropriate adaptors and test leads for test instruments and cables to be tested

backup energy sources, including power supplies and uninterrupted power supply/source (UPS) equipment.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2