# ICTTEN316 Conduct basic tests and analyses of telecommunications copper cabling

Release: 1

ICTTEN316 Conduct basic tests and analyses of telecommunications copper cabling

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Application

This unit describes the skills and knowledge required to test and analyse telecommunications copper cabling using a variety of telecommunications industry test equipment.

This unit applies to technicians who conduct basic tests and telecommunications copper cabling analysis.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Unit Sector

Telecommunications – Telecommunications Network Engineering

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine cable type/s and applications in use in telecommunications system | 1.1 Identify and document applications in use in telecommunications system according to relevant standards 1.2 Identify cables in use within a telecommunications system according to relevant standards 1.3 Assess balanced/unbalanced nature of type of cable system in use |
| 2. Determine testing parameters and calibrate devices | 2.1 Select most appropriate testing device and methodology for cable type 2.2 Outline testing parameters to be used for task 2.3 Locate and isolate alternative energy supply sources 2.4 Determine components to be tested 2.5 Resolve implications of system interruptions and methods for live testing with minimum system disruption 2.6 Calibrate test devices according to manufacturer and enterprise requirements |
| 3. Conduct copper cable test/s and record results | 3.1 Connect test devices to cable system 3.2 Perform and record test results 3.3 Save and retrieve test results as required 3.4 Review adverse findings and escalate according to enterprise policy and procedures |
| 4. Report test results | 4.1 Analyse and record critical test data 4.2 Develop recommendations based on test data analysis 4.3 Write up report of test results 4.4 Submit report to customer and obtain sign-off |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance, but not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Learning | Identifies, plans and implements strategies using knowledge attained |
| Reading | Analyses and consolidates information and data from sources, against defined criteria and requirements, and checks for accuracy and completeness Recognises and interprets textual information to determine specific information about security incidents |
| Writing | Develops material for a specific audience, using clear and detailed language in order to convey explicit information |
| Oral Communication | Articulates information clearly, using specific and relevant language suitable to audience to convey recommendations and provide verbal reports Uses listening and questioning techniques to confirm understanding of WHS and operational testing |
| Numeracy | Extracts and evaluates the mathematical information embedded in a range of technical specifications and manuals |
| Navigate the world of work | Accepts responsibility and ownership for the task and makes decisions on completion parameters and the need for coordination with others Takes personal responsibility for following explicit and implicit policies, procedures and legislative requirements |
| Interact with others | Selects form, channel and mode of communication for a specific purpose relevant to own role Ensures stakeholders are aware of WHS identified risks for task |
| Get the work done | Plans strategic priorities and outcomes within a flexible, efficient and effective context, in a diverse environment exposed to competing demands Gathers and analyses data, and seeks feedback, to improve plans and processes Makes decisions in a complex and diverse environment, using input from a range of sources Explores and incubates new ideas through unconstrained analysis and critical thinking, to develop and improve enterprise controls |

# Unit Mapping Information

No equivalent unit. New unit.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2

Assessment Requirements for ICTTEN316 Conduct basic tests and analyses of telecommunications copper cabling

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

select, set-up and operate test instruments for three different cable types from the following list:

structured cabling verification/qualification tester

wire mapper

oscillator and probe

spectrum analyser

DVB-T/S2 analyser

multimeter – analog and digital

time-domain reflectometer (TDR)

asymmetric digital subscriber line (ADSL)/very-high-bit-rate digital subscriber line (VDSL) test instruments

select appropriate instrument test cables and adaptors to suit test equipment for three different cable types and:

determine safety of cables to be tested (i.e. live or inactive)

identify calibration status of selected devices

confirm test results are within acceptable operational parameters.

Note: Evidence must be provided at least once when a specific volume or frequency is not stated.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

relevant legislation, regulations, codes, standards, rules, guidance notes and other formal agreements that impact on work, in particular:

AS/CA S008:2010 Requirements for customer cabling products

AS/CA S009:2013 Installation requirements for customer cabling (Wiring Rules)

AS/NZS 1367:2016 Coaxial cable and optical fibre systems for the RF distribution of digital television, radio and in-house analog television signals in single and multiple dwelling installations

AS/NZS 3000:2018 Electrical installations known as the Australian/New Zealand Wiring Rules

AS/NZS 3080:2013 Information technology - Generic cabling for customer premises (ISO/IEC 11801:2011, MOD)

AS/NZS 3084:2017 Telecommunications installations – Telecommunications pathways and spaces for commercial buildings

National Construction Code

work health and safety (WHS) regulations pertaining to electrical and electromagnetic telecommunications systems including energy supply sources

different copper cable types utilised to match transmitted and received signals

testing concepts and parameters used by test instruments including:

impedance, resistance, mismatches, crosstalk, reflections, ACR, spectrum, bandwidth, modulation depth, intermodulation, signal delay, group delay, normalisation, linearity, TDR, clock, jitter, latency, ping, signal to noise ratio (SNR), simplified Fourier analysis concepts, eye patterns, PAM4 or SDI, QAM patterns/constellations, MER, BER, FEC, signal losses, noise, interference, data rates, traffic, upload/download testing, signal levels, dBs, dBm, dBµ, dBr, dBµV

testing acronyms including expansion and meaning

common tests utilised with each copper cable telecommunication system

telecommunications systems utilised in the telecommunications industry including:

telephone/voice over internet protocol (VoIP) systems

mobile phones, security systems

closed-circuit television (CCTV) systems

fire protection systems

structured cabling systems

local area network (LAN) equipment, telemetry

equipment control and monitoring systems

automation control systems

entertainment and control systems

radio communications

wi-fi

radio links

satellite and digital television reception

private automatic branch exchange (PABX)

technical standards as applicable to copper cable systems

test devices as applicable to copper cables in each transmission medium

purpose and use of test results

solid core cable versus stranded core.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

safety procedures signage and personal protective equipment (PPE) for testing cable

cabling products and cable used in telecommunications systems

operating conditions that may be present within local industry and regional contexts

test equipment to test cable and identify test results, including:

wire mapper

oscillator and probe

spectrum analyser (available in DVB analyser)

DVB-T/S2 analyser

multimeter

TDR (available in SC certifiers)

ADSL/VDSL test instruments

typical cable types including:

Cat 6 UTP cable

Cat 6/7 STP cable

RG6 coaxial cable (quad shielded)

RG11 coaxial cable (quad shielded)

copper conductor ribbon cable

solid core cable

stranded core cable

appropriate connectors for testing cables

appropriate adaptors and test leads for test instruments and cables to be tested

backup energy sources, including power supplies and uninterrupted power supply/source (UPS) equipment.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2