# Assessment Requirements for ICTTEN322 Provide infrastructure for telecommunications network customer equipment

Release: 1

Assessment Requirements for ICTTEN322 Provide infrastructure for telecommunications network customer equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate, on two occasions, the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

identify potential earthing locations, cable routes, cables support systems, data cabinets, telecommunication enclosures and distributors

construct metal superstructure and racks

install protective earth installations

organise AC mains power infrastructure

install uninterrupted power supply (UPS) backup power

notify customer of works progress.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

cabling types, connectors and cabling structures used in telecommunications networks

common customer telecommunications applications and related equipment

connections to carrier infrastructure or equipment

legislation, regulations, codes and standards for compliance relating to installation of telecommunications equipment and connection to carrier services in particular:

work health and safety (WHS) requirements for managing hazards on the worksite including:

confined spaces

electrical safety including the limits of electrical work as set by local electrical regulatory body

working at heights

lifting

materials handling

physical hazards

tools and test equipment required for an infrastructure installation

site survey process and data that should be recorded

environmental impacts, including options for information and communications technology (ICT) installations

network topologies, interface and interconnect solutions

network and transmission customer equipment likely to be encountered

common backup UPS systems, AC mains power requirements and electrical safety for telecommunications networks

types of warranty information for equipment supplies and contractor work guarantees

importance of correctly labelling an installation.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

site/s where installation of supporting infrastructure can be conducted

plant, tools, equipment and personal protective equipment currently used in industry

relevant regulatory and equipment documentation that impact work activities.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2