# Assessment Requirements for ICTTEN409 Commission an electronic system

Release: 1

Assessment Requirements for ICTTEN409 Commission an electronic system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Performance Evidence

Evidence of ability to:

effectively negotiate arrangements for commissioning

accurately configure electronic equipment and system parameters

commission electronic system according to specifications and following work health and safety (WHS) requirements

deal with faults and problems and provide solutions

identify potential security threats and vulnerability.

Note: If a specific volume or frequency is not stated, then evidence must be provided at least once.

# Knowledge Evidence

To complete the unit requirements safely and effectively, the individual must:

explain acceptance testing

formulate a commissioning procedure and commissioning tests for an electronic system

identify electrical and optical properties to be measured

evaluate an extensive range of networking equipment

outline legislation and licensing associated with installation of telecommunications equipment

outline network operation procedures

explain power requirements and electrical safety

explain setup and operation of test equipment applicable to a wide range of measurements

outline transmission type and signals that may be encountered.

# Assessment Conditions

Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the workplace. Noise levels, production flow, interruptions and time variances should be typical of those experienced in the telecommunications networks engineering field of work and include access to:

sites on which installation and commissioning procedures may be conducted

relevant regulatory and equipment documentation

testing equipment currently used in industry.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2