# ICTTEN427 Conduct site surveys to identify carrier installation requirements

Release: 1

ICTTEN427 Conduct site surveys to identify carrier installation requirements

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to implement design processes, develop solutions, and merge technological development and product implementation in access, building and core networks.

It applies to individuals working as technical staff on projects within a carrier network for carrier, commercial or industrial installations.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Unit Sector

Telecommunications – Telecommunications Networks Engineering

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Obtain access to work site | 1.1 Notify appropriate personnel, if necessary, to arrange site access, discuss installation requirements and identify carrier network systems 1.2 Assess site-specific safety requirements and enterprise work health and safety (WHS) processes and procedures 1.3 Use network information systems to obtain planning data |
| 2. Identify existing infrastructure | 2.1 Confirm details of installation with stakeholders 2.2 Verify site conditions and building construction 2.3 Locate and record existing facilities and systems 2.4 Confirm installation locations and identify barriers to planned network extension 2.5 Integrate existing network and floor plans into documentation where available |
| 3. Integrate existing infrastructure into design brief | 3.1 Review existing plans, drawings and databases against the design brief 3.2 Calculate capacity of existing facilities against proposed usage to ensure appropriate design decisions for new installation 3.3 Incorporate all data into new installation design 3.4 Mark up plans and prepare report on new installation design 3.5 Develop contingency plans for anticipated constraints |
| 4. Review design for compliance with standards and legislation | 4.1 Examine standards, practices and requirements for locating telecommunications infrastructure in the access network 4.2 Review installation design to ensure compliance with requirements of federal, state and local regulations, relevant legislation, codes and standards 4.3 Initiate any special studies or investigations necessary for completion of the project |
| 5. Complete required reports and documentation | 5.1 Complete required documents promptly and according to planning parameters 5.2 Obtain carrier confirmation from documented requirements 5.3 Distribute design documentation to stakeholders promptly 5.4 Obtain project plan sign-off from carrier |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.3, 2.2-2.5, 3.1, 3.5, 4.2, 5.2 | Recognises and interprets a wide variety of technical and non-technical documentation |
| Writing | 1.1, 2.1, 2.3, 3.3, 3.4, 4.1, 4.3, 5.1, 5.2, 5.4 | Uses clear, specific and industry-related terminology to document technical requirements and procedures |
| Oral Communication | 1.3, 2.1, 2.4, 4.3, 5.2 | Participates in verbal exchanges with customers and team members about technical and operational requirements using specific and relevant language Uses listening and questioning techniques to confirm understanding |
| Numeracy | 3.2 | Analyses numerical information to interpret site-specific data |
| Navigate the world of work | 1.2, 4.1, 4.2, 5.1 | Takes personal responsibility for adherence to legal and regulatory responsibilities relevant to own work |
| Interact with others | 2.1, 4.3, 5.2, 5.4 | Selects and uses appropriate conventions and protocols when communicating with customers and co-workers in a range of work contexts |
| Get the work done | 1.1-1.3, 2.2-2.5, 3.3, 3.5, 4.3, 5.2-5.4 | Determines job priorities and works logically and systematically to undertake clearly defined and familiar tasks and plan necessary resources Implements actions according to a predetermined plan, making slight adjustments if necessary and addressing some unexpected issues Takes responsibility for routine decision-making by selecting from a range of predetermined options in routine situations, identifying and taking some situational factors into account Diagnoses and implements standard solutions to unexpected situations based on safety requirements and specified work outcomes Recognises and initiates approaches to enhance work practices, taking present and future needs and barriers to plan completion into account Reflects on ways digital systems and tools are used to achieve work goals, and recognises strategic and operational applications |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTTEN427 Conduct site surveys to identify carrier installation requirements | ICTTEN4242A Conduct site surveys to identify carrier installation requirements | Updated to meet Standards for Training Packages. | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2