# ICTTEN430 Design infrastructure for telecommunications network installations

Release: 1

ICTTEN430 Design infrastructure for telecommunications network installations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version first released with ICT Information and Communications Technology Training Package Version 2.0. |

# Application

This unit describes the skills and knowledge required to design supporting infrastructure for telecommunications network installations; for carrier grade switching, transmission and access equipment and associated media, power and monitoring equipment and alarm systems, fibre distribution hubs (FDHs), and remote power feeds.

It applies to field officers, design technicians or technical supervisors from carriers, contractors or other service providers working with switching, transmission and radio networks and the various transmission paths including cable, optical fibre, radio, microwave and satellite.

Work functions in the occupational areas where this unit may be used are subject to regulatory requirements. Refer to the ICT Implementation Guide Companion Volume or the relevant regulator for details of licensing, legislative or certification requirements.

# Unit Sector

Telecommunications – Telecommunications Networks Engineering

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for design of infrastructure work | 1.1 Obtain relevant legislation, codes, regulations and standards for compliance when conducting work 1.2 Notify client to arrange site access and obtain plans and specifications 1.3 Conduct a site survey to verify infrastructure design requirements can be met 1.4 Identify site hazards and notify appropriate personnel to make site safe 1.5 Develop a design activity schedule to minimise workplace disruption and according to relevant regulation and standards 1.6 Discuss material supplies, safety equipment, resources, tools and test equipment with the construction group so they are available when required for installation for safe work practice |
| 2. Design network equipment infrastructure | 2.1 Prepare infrastructure designs according to electrical safety and work health and safety (WHS) and environmental requirements after consultation with operational staff 2.2 Design metal superstructure to house equipment according to manufacturer’s specifications 2.3 Design cable pathways, including cable distribution frames and support materials, according to specifications |
| 3. Design power infrastructure | 3.1 Design power supply and earthing according to specifications and standard electrical practices 3.2 Design battery and rectifier equipment for project according to manufacturer’s and WHS requirements 3.3 Design high Ohmeric distribution (HOD) and associated power distribution systems |
| 4. Design DC power distribution | 4.1 Design power distribution work to meet electrical safety requirements and certifications 4.2 Monitor electrical work to ensure compliance with installation plan 4.3 Identify and rectify faults where possible or escalate according to enterprise policy |
| 5. Restore site and complete documentation | 5.1 Attach infrastructure labels and designations according to enterprise requirements 5.2 Complete inspection sheets and declare asset ready for next stage of installation using appropriate sign off documentation 5.3 Clean up and prepare site in readiness for next installation phase 5.4 Notify carrier and obtain sign-off |

# Foundation Skills

This section describes language, literacy, numeracy and employment skills incorporated in the performance criteria that are required for competent performance.

| Skill | Performance Criteria | Description |
| --- | --- | --- |
| Reading | 1.1, 1.3 | Analyses and consolidates information and data from a range of sources, against defined criteria and requirements, and checks for accuracy and completeness |
| Writing | 1.2, 1.4, 2.1-2.3, 3.1-3.3, 4.1, 5.1, 5.2, 5.4 | Prepares and produces diagrammatic models and associated documents that convey design parameters Develops procedural material for a specific audience using clear and detailed language to convey explicit information, requirements and recommendations |
| Oral Communication | 1.2, 1.4, 1.6, 5.4 | Uses collaborative and inclusive techniques including active listening and questioning and reading of verbal and non-verbal signals to convey and clarify information and confirm understanding |
| Numeracy | 1.5, 2.2-2.4, 3.1-3.3, 4.1 | Applies design modelling skills to identify, analyse and evaluate budgetary information, time durations and human resource allocations Performs mathematical calculations to analyse and design telecommunications architecture, labour, costs and material quantities |
| Navigate the world of work | 1.4-1.6, 2.1-2.3, 3.1-3.3, 4.1-4.3, 5.1, 5.2 | Accepts responsibility and ownership for the task and makes decisions on completion parameters and the need of coordination with others Takes personal responsibility for following explicit and implicit policies, procedures and legislative requirements Identifies and acts on issues that contravene relevant policies, procedures and legal requirements |
| Interact with others | 1.2, 1.6, 5.4 | Selects and uses appropriate conventions and protocols when communicating with clients and co-workers in a range of work contexts Uses a range of strategies to establish a sense of connection and build rapport with clients and co-workers |
| Get the work done | 1.1, 1.3-1.5, 2.1-2.7, 3.1, 3.2, 4.1-4.3, 5.1, 5.3, 5.4 | Accepts responsibility for planning and sequencing complex tasks and workload, negotiating key aspects with others, taking into account capabilities, efficiencies and effectiveness Monitors progress of plans and schedules and reviews and changes them to meet new demands and priorities Makes routine decisions and implements standard procedures for routine tasks, using formal decision-making processes for more complex and non-routine situations Addresses less predictable problems and initiates standard procedures in response, applying problem-solving processes in determining a solution |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| ICTTEN430 Design infrastructure for telecommunications network installations | ICTTEN4245A Design infrastructure for telecommunications network installations | Updated to meet Standards for Training Packages. | Equivalent unit |

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2