# Assessment Requirements for ICTTEN435 Solve electrical-based telecommunications circuitry and cabling problems

Release: 1

Assessment Requirements for ICTTEN435 Solve electrical-based telecommunications circuitry and cabling problems

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with ICT Information and Communications Technology Training Package Version 5.0. |

# Performance Evidence

The candidate must demonstrate the ability to perform the tasks outlined in the elements, performance criteria, and foundation skills, and to:

apply work health and safety (WHS) procedures to problem-solving electrical circuitry and cables

connect suitable test devices incorporating a multimeter and an oscilloscope to investigate operational parameters within AC and DC circuit/s

perform measurements and calculations on both series and parallel circuits by comparing actual readings with calculated values

calculate and verify through tests the voltage, current and resistance in both a series and parallel AC/DC given circuit

apply fault-finding techniques to rectify at least three electrical issues in telecommunications AC/DC circuits

use circuit characteristics including inductance, impedance and capacitance to improve electrical or signal performance for two basic electronic filter designs

resolve three electrical issues in an AC/DC circuit.

Note: Evidence must be provided at least once when a specific volume or frequency is not stated.

# Knowledge Evidence

The candidate must demonstrate the knowledge required to perform the tasks outlined in the elements, performance criteria, and foundation skills, which includes knowledge about:

safe work practices in electrical work including relevant codes of practice

localised electrical regulatory requirements including limitations of certain electrical work

hazards and risks involved in using electrical instruments and the safety control measures within a telecommunications system

principles of AC and DC electricity and how they impact telecommunications work including:

AC and DC electrical International System of Units (SI units)

symbols used to represent an electrical energy source, a load, a switch and a circuit protection device in a circuit diagram including:

series and parallel circuits for AC and DC circuits

Ohm’s Law and other relevant calculations for AC and DC circuits

common circuit configurations

current and voltage phase relationships

waveform characteristics caused by resistance, inductance and capacitance in AC and DC circuits

common faults that cause an increase or decrease in resistance, voltage and current found in telecommunications circuits

definitions of electrical terms: period, peak, peak-to-peak, instantaneous, average, root-mean-square value in relation to electrical waveforms

AC electrical generation producing a sinusoidal waveform including:

differences between analog and digital signals and devices

sinusoidal, pulsed, and static value waveforms found in AC circuitry

characteristics of resonance in AC circuits

transformer use in electrical circuits including:

basic construction, operating principles and use of transformers

step-up, step-down, turns ratios, voltage and current ratios

verification of operation of transformer circuit

fault-finding techniques including:

half circuit split

quarter circuit split

towards or away from source

selection and use of testing equipment in telecommunications circuitry including:

test devices used for signal measurement

test devices for voltage, current and resistance

telecommunications signal conversion characteristics including:

analog and digital signals

signal transmissions

application of binary to decimal conversion and vice versa

4-bit binary codes with their decimal equivalent to represent output voltages of a digital to analog converter

techniques to convert analog signals to digital and digital signals to analog

principles of analog and digital electronics limited to block diagrams common to analog and digital circuits

components, circuits and uses of common electronic signal filters in telecommunications (high-pass, low-pass and band-pass)

transformer use in electrical circuits including:

construction and operating principles and uses

step-up, step-down, turns ratios, voltage and current ratios

verification of operation of transformer circuit

typical telecommunications electronic devices, cable types and their applications

common telecommunications cables, their characteristics of use and application

features and applications of shielding within telecommunications cables, ‘skin effect’ in cables and transmission losses.

# Assessment Conditions

Skills must be assessed in a workplace or simulated environment where conditions are typical of those in a telecommunications work environment or workplace.

Access is required to:

appropriate AC and DC testing equipment

test devices that include a multimeter and an oscilloscope for waveform observation

manufacturer documentation and equipment

safety equipment

codes of practice.

Assessment in a simulated environment will require extra low voltage to be used.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a53af4e4-b400-484e-b778-71c9e9d6aff2