# ICTOPN5118A Plan and configure dense wavelength division multiplexing systems

Release: 1

ICTOPN5118A Plan and configure dense wavelength division multiplexing systems

# Modification History

Not Applicable

# Unit Descriptor

| Unit descriptor | This unit describes the performance outcomes, skills and knowledge required to prepare the activity plans and specifications required by field technical staff to deploy a dense wavelength division multiplexing (DWDM) optical network suitable for a metropolitan area network (MAN) or long haul applications. It involves provisioning DWDM fibre and power cabling work, provisioning of splicing cabinets and patch panels, and providing specification details for installation and construction teams. DWDMs use optical multiplexing techniques to increase the carrying capacity of a fibre network by transmitting multiple optical wavelengths each carrying high speed data stream over a single fibre. DWDM systems offer up to 128 wavelengths, with each wavelength carrying up to 100 Gbps. No licensing, legislative, regulatory or certification requirements apply to this unit at the time of endorsement but users should confirm requirements with the relevant federal, state or territory authority. |
| --- | --- |

# Application of the Unit

| Application of the unit | Technical officers and supervisors apply the skills and knowledge in this unit when planning installation activities for the deployment of high capacity networks using optical technologies. Optical networks using DWDM provide services in Next Generation Networks (NGN) using emerging technologies. NGN services include internet protocol TV (IPTV), video on demand (VoD), interactive TV and cloud computing. |
| --- | --- |

# Licensing/Regulatory Information

Refer to Unit Descriptor

# Pre-Requisites

| Prerequisite units |  |  |
| --- | --- | --- |

# Employability Skills Information

| Employability skills | This unit contains employability skills. |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Prepare for DWDM planning activities | 1.1. Obtain relevant legislation, codes, regulations and standards for compliance when conducting work 1.2. Scope the work by obtaining project plan from appropriate personnel and arrange for site access to comply with security arrangements 1.3. Notify appropriate personnel of identified safety hazards at the work site |
| 2. Plan DWDM installation activities and develop specifications | 2.1. Follow occupational health and safety (OHS) and environmental requirements for the given work and identify and avoid other services 2.2. Identify tools, safety equipment, plant and machinery for installation work activities 2.3. Conduct physical inspections of proposed DWDM sites and verify that backbone dark fibre is accessible and available according to cabling plan 2.4. Verify proposed backbone and customer fibre cable routes to the splicing cabinet and fibre patch panel and identify barriers to the cable installation 2.5. Verify proposed power cabling route from distribution board and circuit breakers and identify barriers to the cable installation 2.6. Modify cable plan if required and notify appropriate personnel 2.7. Prepare fibre installation specifications and power cable and grounding specifications according to cabling plan and safe work practices and manufacturer's instructions 2.8. Verify proposed location of associated hardware racks, cabinets and ironwork and confirm access to enterprise local area network (LAN) |
| 3. Prepare DWDM shelf configuration and specifications according to customer requirements | 3.1. Prepare a configuration document including configuration plans and specifications for the installation team 3.2. Specify location of DWDM shelves or racks and the shelf interconnection fibre cabling layout according to cabling plan 3.3. Specify the individual DWDM units and circuit card types required to suit customer requirements |
| 4. Plan preliminary optical tests | 4.1. Verify backbone fibres at patch panel and conduct bidirectional optical time domain reflectometer (OTDR) test and record measurement results and OTDR images 4.2. Conduct bidirectional optical loss test set (OLTS) measurement of insertion loss on backbone fibres from patch panel to patch panel at adjacent sites and record measurement results |
| 5. Complete documentation and obtain sign off | 5.1. Provide results of optical measurements to design team 5.2. Complete and provide updated specification documentation to installation team 5.3. Submit documentation to appropriate person for approval and sign off |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit.

Required skills

analytical skills to: analyse specific customer requirements evaluate different types of technical data identify details relating to the project from the approved network plan communication skills to discuss project brief with enterprise design and installation personnel, vendors, customers and contractors literacy skills to: interpret technical documentation write reports project briefs in required formats numeracy skills to: interpret results and evaluate different types of technical data analyse site survey data planning skills to: consider current, new technology, facilities and features when developing options plan, prioritise and monitor own work and that of others problem solving skills to address specific customer requirements research skills to: analyse impacts on planning processes obtain and study information relating to new technology or technology features obtain geographical site information study relevant legislation and associated operational codes technical skills to identify barriers to plan realisation and interpret test results

Required knowledge

configuration of DWDM shelf DWDM principles of operation electrostatic discharge features and operating requirements of test equipment: hand-held optical power meter optical spectrum analyser OTDR transmission test set functions of optical add drop multiplexer internet protocol (IP) addressing, subnet mask, dynamic host configuration protocol (DHCP) and default gateway International Telecommunications Union (ITU) wavelength grid for DWDM optical fibre connector types and characteristics optical fibre types and characteristics path protection and protection switching physical optical loopbacks and software loopbacks protocols used on optical DWDM systems ring topologies and linear network topologies specific OHS requirements that impact on the safe inspection of optical connectors and the safe measurement of optical power from laser transmission systems

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Overview of assessment |  |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | Evidence of the ability to: plan DWDM installation activities develop installation specifications prepare DWDM shelf configuration and specifications plan preliminary optical tests. |
| Context of and specific resources for assessment | Assessment must ensure: sites on which testing, installation and configuring of a DWDM system may be conducted use of test equipment currently used in industry manufacturer's technical documentation relevant regulations and specifications. |
| Method of assessment | A range of assessment methods should be used to assess practical skills and knowledge. The following examples are appropriate for this unit: direct observation of the candidate undertaking DWDM planning tasks review of data gathered, reports and project plans prepared by the candidate oral or written questioning to assess knowledge of planning and configuring of DWDM systems. |
| Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended, for example: ICTOPN5121A Test and commission a dense wavelength division multiplexing transmission system. Aboriginal people and other people from a non-English speaking background may have second language issues. Access must be provided to appropriate learning and assessment support when required. Assessment processes and techniques must be culturally appropriate, and appropriate to the oral communication skill level, and language and literacy capacity of the candidate and the work being performed. In all cases where practical assessment is used it will be combined with targeted questioning to assess required knowledge. Questioning techniques should not require language, literacy and numeracy skills beyond those required in this unit of competency. Where applicable, physical resources should include equipment modified for people with special needs. |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| Relevant legislation, codes, regulations and standards may include: | Australian Communications Industry Forum (ACIF) standards and codes AS Communications Cabling Manual (CCM) Volume 1 AS/NZS 3000:2007 AS/NZS 3080:2003 AS/NZS 3084:2003 AS/NZS 3085.1:2004 AS/NZS IEC 61935.1:2006 AS/NZS IEC 61935.2:2006 AS/NZS ISO/IEC 14763.3:2007 AS/NZS ISO/IEC 15018:2005 AS/NZS ISO/IEC 24702:2007 cabling security codes and regulations Environmental Protection Acts OHS road and traffic control legislation and codes technical standards AS/ACIF S008:2006 and AS/ACIF S009:2006. |
| Scope the work may include: | cable route cable supports cable types distribution areas (DA) enclosures equipment required fibre hubs optical splitters project type: large residential medium residential small business standard residential. |
| Appropriate personnel may be: | consultant planning engineer project engineer project supervisor site supervisor. |
| Safety hazards may refer to: | access points that may contain: hazardous light (non-visible laser) radio frequency (RF) emission active lasers without safety labels active optical fibres contact with remote power feed electrical supply that requires mandatory separation from communications cable exposed fibres unsafe support structures unsafe weather: heavy rains high winds severe heat or cold thunderstorms. |
| OHS and environmental requirements may relate to: | identifying other services, including power and gas personal protective equipment earmuffs gloves head protection masks protective suits safety boots safety glasses safe working practices, such as the safe use and handling of: chemicals materials tools and equipment safety equipment: flashing lights safety barriers warning signs and tapes witches hats special access requirements environmental considerations: clean-up protection stormwater protection waste management. |
| Other services may include: | alarms electrical services fire sprinkler systems gas and water mains high voltage (HV) power other service provider networks. |
| Tools, safety equipment may include: | personal protective equipment test equipment: local area network (LAN) Cat tester network analyser OTDR passive optical network (PON) meter tools: fibre cleaning kit fibre splicer labeller screw drivers spanners tagging tool. |
| Plant and machinery may include: | back hoes bobcats cable hauling equipment cable lifters diggers elevated work platforms (EWP) excavators jacks and trolleys tensioning equipment. |
| Fibre installation specifications may include: | connector types fibre management system identification label patch cord type splicing cabinet location. |
| Power cable and grounding specifications may include: | cable colour code cable termination lug type cable wire gauge identification label overhead route under floor cable route. |
| Associated hardware may include: | cabinets equipment racks: 19 inch 23 inch 535 mm European Telecommunications Standards Institute (ETSI) compliant fibre distribution troughing ironwork LAN hubs and routers rectifier cabinet. |
| Configuration document may include: | circuit card locations contents of each shelf filler card locations. |
| Optical time domain reflectometer (OTDR) test may include: | bidirectional 'footprint' test: at 1310 nm at 1550 nm at 1625 nm fibre loss splice losses and their locations. |
| Optical loss test set (OLTS) measurement may include fibre insertion loss from: | A to B at: 1310 nm 1550 nm 1625 nm B to A at: 1310 nm 1550 nm 1625 nm. |

# Unit Sector(s)

| Unit sector | Telecommunications |
| --- | --- |

# Co-requisite units

| Co-requisite units |  |  |
| --- | --- | --- |

# Competency field

| Competency field | Optical networks |
| --- | --- |