# LGAOPS004 Evaluate works maintenance needs and priorities

Release: 1

LGAOPS004 Evaluate works maintenance needs and priorities

# Modification History

Not applicable.

# Application

This unit describes the performance outcomes, skills and knowledge required to identify and evaluate works conditions to ensure public safety and the preservation of assets.

It requires the ability to identify the works maintenance requirements, prioritise work, record problems and report on maintenance action.

This unit applies to individuals working in local government and undertaking tasks related to the maintenance of council assets.

The skills in this unit must be applied in accordance with Commonwealth and State or Territory legislation, Australian standards and industry codes of practice.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

# Competency Field

Not applicable.

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify works maintenance requirements. | 1.1. Develop and prioritise preventative maintenance strategies to meet organisational safety and asset management requirements. 1.2. Assess user complaints to identify public safety risks. 1.3. Assess public safety risks to identify the need for emergency action to ensure user and public safety. 1.4. Respond to user complaints relating to works maintenance according to organisational policies and procedures. 1.5. Seek specialist advice on technical matters outside scope of own job role. |
| 2. Plan works maintenance. | 2.1. Conduct works maintenance inspections to identify and record maintenance problems and faults according to organisational requirements. 2.2. Assess maintenance problems and faults to identify public safety risks. 2.3. Assess public safety risks to identify works maintenance priorities. 2.4. Prioritise works maintenance activities to ensure public safety and preservation of assets. 2.5. Schedule works maintenance activities according to priorities and organisational policies and procedures. 2.6. Determine and report on works maintenance plans and activities according to organisational requirements. |
| 3. Maintain records. | 3.1. Prepare asset registers according to organisational and legislative requirements. 3.2. Secure and update asset records according to organisational and legislative requirements. |

# Foundation Skills

| Foundation skills essential to performance in this unit, but not explicit in the performance criteria are listed below. |  |
| --- | --- |
| SKILLS | DESCRIPTION |
| Writing skills to: | record asset register details clearly, accurately and legibly. |
| Oral communication skills to: | communicate with colleagues and the public to determine the maintenance works requirements and ensure public safety and preservation of assets. |
| Numeracy skills to: | prioritise, sequence and schedule maintenance works assess risks. |

# Unit Mapping Information

LGAWORK301A Evaluate works maintenance needs and priorities.

# Links

Companion Volume Implementation Guide are available in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0388d502-0fc3-49d9-a06e-c95893d7