# LMFFL3304A Install resilient tiles using custom design and decorative finishes

Revision Number: 1

LMFFL3304A Install resilient tiles using custom design and decorative finishes

# Modification History

Not applicable.

# Unit Descriptor

| Unit descriptor | This unit covers the competency to install resilient tiles to multiple connecting rooms and/or large commercial sites using multi directional patterns, custom design, mechanically and hand cut motifs, logos and decorative finishes including the preparation, layout, cutting, laying and fixing of resilient tiles. |
| --- | --- |

# Application of the Unit

| Application of the unit | This unit supports the attainment of skills and knowledge required for competent workplace performance in the wide variety of flooring technology operations. The competency applies to a work room and on site environment and involves application of skills and knowledge at a trade worker level. These skills and knowledge are to be used within the scope of the individual's job and authority. |
| --- | --- |

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

| Prerequisite units | Nil |  |
| --- | --- | --- |

# Employability Skills Information

| Employability skills | This unit contains employability skills. |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Prepare for installation | 1.1. Applicable legislative, OHS and organisational requirements relevant to the installation of resilient tiles using custom design and decorative finishes are verified and complied with 1.2. Instructions and/or plans are read and interpreted to identify process required to complete work tasks 1.3. Sub-floor condition is assessed for installation of resilient tiles 1.4. Suitable adhesives, trims and accessories are selected 1.5. Tools, equipment and materials are selected and checked prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition 1.6. Sequence of work is planned, including the starting point, to ensure efficiency and quality of installation |
| 2. Set out materials | 2.1. Resilient tiles to be installed are checked against order 2.2. Resilient tiles are acclimatised according to manufacturer recommendations 2.3. Materials for fixing are organised and used in accordance with relevant safety management requirements 2.4. Set out patterns, motifs, logos and custom design requirements 2.5. Working lines and starting point are established |
| 3. Lay floor covering | 3.1. Instructions and sequence for laying and fixing are followed 3.2. Materials are laid out to meet specification requirements and to minimise waste 3.3. Material grains and patterns are matched or contrasted as appropriate 3.4. Tiles are accurately and clearly marked for cutting 3.5. Tiles are cut to required shape with minimum waste of materials and laid 3.6. Complete installation is checked for flaws in installation and materials and faults are rectified |
| 4. Complete housekeeping | 4.1. Unused materials are stored or recycled as required 4.2. Tools and equipment are cleaned and stored appropriately 4.3. Work area is cleaned and rubbish disposed of appropriately 4.4. Workplace documentation and/or reports are completed |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit.

Required skills

collect, organise and understand information related to work orders, basic plans and safety procedures communicate ideas and information to enable confirmation of work requirements and specifications, coordination of work with site supervisor, other workers and customers, and the reporting of work outcomes and problems work with others and in a team by recognising dependencies and using cooperative approaches to optimise work flow and productivity use pre-checking and inspection techniques to anticipate problems installing resilient tiles using custom design requirements to avoid re-work and wastage recognise and respond to circumstances outside instructions or personal competence plan and organise activities, including the preparation and layout of the worksite and the obtaining of equipment and materials to avoid any back tracking, work flow interruptions or wastage use mathematical ideas and techniques to correctly complete measurements, calculate area and estimate other material requirements clarify and confirm work instructions plan work within given task parameters accept responsibility for given tasks set, monitor and satisfy personal work goals satisfy the competency requirements for the job maintain current knowledge of: tools and materials installation techniques seek learning opportunities use the limited workplace technology related to the installing of resilient tiles using custom design requirements, including tools, equipment, calculators and measuring devices.

Required knowledge

State or Territory OHS legislation, regulations, standards and codes of practice relevant to installing resilient tiles using custom design requirements organisational and site standards, requirements, policies and procedures for installing resilient tiles using custom design requirements environmental protection requirements established communication channels and protocols problem identification and resolution types of tools and equipment and procedures for their safe use, operation and maintenance characteristics of materials, products and defects set up and operation of equipment products assembly techniques procedures for the recording, reporting and maintenance of workplace records and information appropriate mathematical procedures for estimation and measurement types, characteristics, uses and limitations of: resilient tiles resilient tile installation adhesives types and uses of resilient tile installation tools and equipment workplace safety system requirements related to resilient tile installation characteristics and requirements of sub-floor preparation work flow in relation to cutting and laying resilient tiles

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The Evidence Guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | Comply with legislation, regulations, standards, codes of practice and established safe practices and procedures for the installation of resilient tiles meeting custom design requirements Interpret work order and locate and apply relevant information Apply safe handling requirements for equipment, products and materials, including use of personal protective equipment Follow work instructions, operating procedures and inspection practices to: minimise the risk of injury to self and others prevent damage to materials and equipment maintain required production output and product quality Install resilient tiles where cutting and fixing is required on either a timber sub-floor, or a concrete sub-floor, in multiple rooms with complex design requirements Complete a minimum of: one resilient installation to multiple connecting rooms using multi-directional patterns/borders, including appropriate trims and accessories one resilient plank installation that includes a motif/logo and including appropriate trim and accessories one resilient tile installation to large commercial site that includes a 'link-up' and custom design requirement, including appropriate trims and accessories Work effectively with others Modify activities to cater for variations in workplace context and environment |
| Context of, and specific resources for assessment | The application of competency is to be assessed in the workplace or realistically simulated workplace Assessment is to occur under standard and authorised work practices, safety requirements and environmental constraints Assessment of essential underpinning knowledge, other than confirmatory questions, will usually be conducted in an off-site context Assessment is to comply with relevant regulatory or Australian Standards requirements The following resources should be made available: workplace location or simulated workplace materials and equipment relevant to installing resilient tiles specifications and work instructions |
| Method of assessment | Assessment must satisfy the endorsed assessment guidelines of the Furnishing Industry Training Package Assessment methods must confirm consistency and accuracy of performance (over time and in a range of workplace relevant contexts) together with application of underpinning knowledge Assessment methods must be by direct observation of tasks and include questioning on underpinning knowledge to ensure its correct interpretation and application Assessment may be applied under project related conditions (real or simulated) and require evidence of process Assessment must confirm a reasonable inference that competency is able not only to be satisfied under the particular circumstance, but is able to be transferred to other circumstances Assessment may be in conjunction with assessment of other units of competency |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| Legislative requirements | are to be in accordance with applicable legislation from all levels of government that affect organisational operation. Requirements may include but not be limited to award and enterprise agreements, industrial relations, Australian Standards, confidentiality and privacy, OHS, the environment, equal opportunity, anti-discrimination, relevant industry codes of practice, duty of care and heritage |
| OHS requirements | are to be in accordance with Commonwealth, State or Territory legislation and regulations, organisational safety policies and procedures. Requirements may include but not be limited to the use of personal protective equipment and clothing, fire fighting equipment, First Aid equipment, hazard and risk control and elimination, control of hazardous materials and substances, manual handling including lifting and carrying |
| Organisational requirements | may include but not be limited to legal, organisational and site guidelines, policies and procedures relating to own role and responsibility, quality assurance, procedural manuals, quality and continuous improvement processes and standards, OHS, emergency and evacuation, ethical standards, recording and reporting, access and equity principles and practices, equipment use, maintenance and storage, environmental management (waste disposal, recycling and re-use guidelines) |
| Resilient tiles | include homogenous/heterogeneous, linoleum, rubber, semi-rigid, rigid and planks |
| Instructions | Workplace procedures relating to the use and operation of tools and equipment Workplace instructions, including job sheets, plans, drawings and designs Workplace procedures relating to reporting and communications Manufacturer instructions for the use of equipment and materials |
| Adhesives | are to include pressure sensitive adhesives, two part epoxy, poly-urethane and water and solvent based contact adhesive |
| Tools and equipment | are to include utility knife, tile scriber, straight edge, square, chalk and chalk-line, tape measure, hacksaw, serrated trowel, hammer, scribing bar, dividers, roller, gas bottle and gun, rubber mallet, paint brush and bucket, spatula knife and trolleys |
| Materials | are to include but not be limited to resilient tile flooring, skirting, reducing and edge strips, tapes, pattern paper and adhesives |

# Unit Sector(s)

| Unit sector | Flooring Technology |
| --- | --- |

# Competency field

| Competency field | Resilient |
| --- | --- |

# Co-requisite units

| Co-requisite units |  |  |
| --- | --- | --- |