# Assessment Requirements for MARB007 Undertake basic maintenance of electrical systems

Release: 1

Assessment Requirements for MARB007 Undertake basic maintenance of electrical systems

# Modification History

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

carrying out simple maintenance of electrical systems

implementing safe and environmentally responsible work practices

reading and interpreting system specifications.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

battery:

charging systems

maintenance

types and associated hazards

connecting batteries in series and parallel

connection to shore power

earth indicating devices

electrical distribution systems

isolation of electrical circuits

main faults that can occur in:

AC electrical systems

DC electrical systems

maintenance and operation of batteries

own ability and limits to rectify irregularities and faults

protection devices

single and three-phase AC power

starter motors, alternators and associated equipment

switchboard and protection devices

uses of fuses and circuit breakers

use of multi-meter to test voltage and continuity.

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

MAR Maritime Training Package Companion Volume Implementation Guide at: - http://companion_volumes.vetnet.education.gov.au/Pages/TrainingPackage.aspx?pid=22