# Assessment Requirements for MARB011 Undertake maintenance of 240 to 440 voltage alternating current electrical systems

Release: 1

Assessment Requirements for MARB011 Undertake maintenance of 240 to 440 voltage alternating current electrical systems

# Modification History

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

applying safety requirements throughout work sequence including the use of personal protective equipment (PPE)

completing all work to specification

developing effective planning documents

ensuring correct requirements and details of maintenance of electrical systems and equipment

implementing safe and environmentally responsible work practices in testing and maintenance activities

locating, interpreting and applying manufacturer specifications for electrical systems and equipment

operating AC systems and conducting operator preventive maintenance according to manufacturer recommendations, regulations and vessel operating procedures to ensure safe operation

operating electrical systems and equipment according to manufacturer recommendations, regulations and vessel operating procedures to ensure safe operation providing high quality reports

recognising electrical system faults and where necessary taking steps to make them immediately safe

selecting and using appropriate processes, tools and equipment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

AC systems not exceeding 440 voltage AC

batteries (types, care and maintenance, hazards)

care of electrical systems and equipment in general (fault recognition)

charging systems:

alarms/indicators

regulators

connecting batteries

electric systems (above 240 V AC and up to 440 V AC)

fault identification, location and safety implications

operation and maintenance of starter motors, alternators and associated equipment

personal safety

protective devices on switchboards

shore power connection

use of fuses and circuit breakers (selection of correct capacity).

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2