# MARB015 Maintain firefighting appliances

Release: 1

MARB015 Maintain firefighting appliances

# Modification History

Release 1. New unit of competency.

# Application

This unit involves the skills and knowledge required to maintain firefighting equipment. It includes following a maintenance program, working safely, carrying out maintenance and completing necessary maintenance documentation.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

B – Equipment Checking and Maintenance

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| 1 | Prepare to carry out maintenance | 1.1 | Details of firefighting equipment and systems are ascertained from manufacturer documentation and equipment certification documentation |
| --- | --- | --- | --- |
|  |  | 1.2 | Extent of maintenance to be conducted is established from maintenance schedule |
|  |  | 1.3 | Tools, equipment and testing devices needed to carry out maintenance work are obtained and checked for correct operation and safety |
| 2 | Carry out maintenance | 2.1 | Work is carried out according to maintenance schedule to ensure all items are correctly maintained |
|  |  | 2.2 | Equipment and systems are checked and tested according to established procedures to determine whether it functions correctly, complies with approval documentation and is not subject to deterioration or damage |
|  |  | 2.3 | Equipment and systems are adjusted or repaired within limits permitted by equipment certification and according to manufacturer instructions |
|  |  | 2.4 | Certification documentation for replacement equipment and systems is sighted to ensure it is identical to equipment it replaces, according to regulatory requirements |
|  |  | 2.5 | Equipment being withdrawn from service is isolated safely according to regulatory requirements |
|  |  | 2.6 | Spare equipment is maintained and suitably stored where it is not likely to suffer deterioration or damage |
| 3 | Complete maintenance work inspections and documentation | 3.1 | Detailed inspection of equipment and systems subject to maintenance work is arranged according to regulatory requirements |
|  |  | 3.2 | Results of inspections and maintenance activities are recorded according to regulatory and organisational requirements |
|  |  | 3.3 | Appropriate personnel are notified of completion of maintenance and details are documented according to regulatory and organisational requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Firefighting equipment and systems must include: | closing appliances fire pumps and fire main systems fixed fitted detection and suppression systems fixed installations foam applicators hoses international ship-to-shore connection nozzles portable and semi-portable extinguishers remote shut-offs stretchers/ropes and lines |
| Deterioration or damage must include: | incorrect stowage of equipment lack of required maintenance |

# Unit Mapping Information

This unit replaces and is equivalent to MARB3001A Maintain firefighting appliances.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2