# MARB022 Refuel a vessel

Release: 1

MARB022 Refuel a vessel

# Modification History

Release 1. This is the first release of this unit of competency in the MAR Maritime Training Package Release 3.0.

# Application

This unit involves the skills and knowledge required to apply safe work practices when refuelling vessels in a marina, including conducting pre-operational checks and completing post-refuelling operations and refuelling documentation.

This unit applies to marina operators who refuel vessels in a marina and on water.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

B – Equipment Checking and Maintenance

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan vessel refuelling | 1.1 | Dangers of volatile fuel liquids and vapours are established and recorded |
|  |  | 1.2 | Precautions for minimising risks associated with volatile liquids are identified and recorded |
|  |  | 1.3 | Safety and environmental requirements for refuelling vessel are identified and recorded |
|  |  | 1.4 | Fuel is selected based on vessel use and manufacturer requirements |
|  |  | 1.5 | Procedures for refuelling are identified and followed established according to workplace procedures and relevant regulations and standards |
| 2 | Prepare for refuelling | 2.1 | Personal protection is identified, accessed and used |
|  |  | 2.2 | Firefighting and spill response equipment is located and checked, faulty equipment is replaced and faults are reported |
|  |  | 2.3 | Refuelling equipment is checked and secured according to workplace procedures |
|  |  | 2.4 | Vessel is positioned and secured for refuelling |
|  |  | 2.5 | Tank valves are opened as necessary |
| 3 | Refuel vessel | 3.1 | Safety and environmental requirements for refuelling vessel are applied |
|  |  | 3.2 | Vessel is refuelled according to workplace procedures, and relevant regulations and standards |
|  |  | 3.3 | Workplace procedures are followed to contain spill and minimise environment or safety dangers |
|  |  | 3.4 | Fuel levels are checked and if acceptable, refuelling is completed |
| 4 | Complete refuelling | 4.1 | Refuelling equipment is cleaned and stowed according to workplace procedures |
|  |  | 4.2 | Spillage is cleaned up according to workplace procedures |
|  |  | 4.3 | Required documentation is completed according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Spill containment includes: | absorbing materials containment booms and portable bunding |
| Fuels include one or more of the following: | diesel (distillate) kerosene liquefied petroleum gas (LPG) methylated spirits petrol (gasoline) including premixed two stroke fuel |

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2